## Detailed Estimate IE
SR # | CSI SECT | DESCRIPTION | QUANTITY | WASTAGE (10%) | QTY WITH WASTAGE | UNIT OF MEASURMENT | UNIT LABOR COST | UNIT MATERIAL COST | UNIT COST (LAB+MAT) | TOTAL ITEM COST | TOTAL TRADE COST
| DIV. 01 | GENERAL CONDITIONS | [8 empty] | 0
1 |  | Permits Documentation And Fees | 1 | 0% | 1 | LS |  |  |  | 0
2 |  | Hazardous Waste Or Disposal Work | 1 | 0% | 1 | LS |  |  |  | 0
3 |  | Owner Purchased, Contractor Installed Items | 1 | 0% | 1 | LS |  |  |  | 0
4 |  | Contractors Use Of New And Existing Facilities | 1 | 0% | 1 | LS |  |  |  | 0
5 |  | Correction Of Unsatisfactory Conditions | 1 | 0% | 1 | LS |  |  |  | 0
6 |  | Restoration Of Unit Damaged During Installation | 1 | 0% | 1 | LS |  |  |  | 0
7 |  | Replacement Of Units Which Cannot Be Restored | 1 | 0% | 1 | LS |  |  |  | 0
8 |  | Maintaining Existing Construction In Weather High Conditions | 1 | 0% | 1 | LS |  |  |  | 0
9 |  | Signage | 1 | 0% | 1 | LS |  |  |  | 0
10 |  | Supervisory Personnel | 1 | 0% | 1 | LS |  |  |  | 0
11 |  | Temporary Services | 1 | 0% | 1 | LS |  |  |  | 0
12 |  | Water | 1 | 0% | 1 | LS |  |  |  | 0
13 |  | Lighting And Power | 1 | 0% | 1 | LS |  |  |  | 0
14 |  | Toilet Facilities | 1 | 0% | 1 | LS |  |  |  | 0
15 |  | Material Storage | 1 | 0% | 1 | LS |  |  |  | 0
16 |  | Contractor's Safety Program | 1 | 0% | 1 | LS |  |  |  | 0
| DIV. 02 | EXISTING CONDITIONS | [8 empty] | 0
PLANTING
17 |  | 6' dia. Tree | 33 | 0% | 33 | EA |  |  |  | 0
18 |  | Green planting area | 430 | 10% | 473 | SF |  |  |  | 0
19 |  | Planters Wall, ( 3' height ) | 461 | 10% | 507.1 | LF |  |  |  | 0
20 |  | 24" dia. Shrubs | 61 | 0% | 61 | EA |  |  |  | 0
| DIV. 03 | CONCRETE | [8 empty] | 0
FOUNDATION CONCRETE
21 |  | 3'-2" Thick Foundation Concrete Mat, Reinforced With #8 @ 10" O/C, Top & Bottom, Each Way, (14948 SFT) | 1759 | 10% | 1934.9 | CY |  |  |  | 0
22 |  | Formwork For Foundation Concrete Mat | 1602 | 10% | 1762.2 | SF |  |  |  | 0
CONCRETE SLAB
23 |  | 6" Thick Slab On Grade Reinforced With #4@16" O/C, | 14508 | 10% | 15958.8 | SF |  |  |  | 0
CONCRETE WALL
24 |  | 12" Thick Foundation Wall W/ #5 @ 12" O.C. Horizontal Each Face, #6@ 12" O.C. Vertical Each Face | 768 | 10% | 844.8 | CY |  |  |  | 0
25 |  | Formwork For Concrete Wall | 41412 | 10% | 45553.2 | SF |  |  |  | 0
CONCRETE SLAB
26 |  | 2-1/2" 4000 PSI Light Weight Concrete Topping Reinforced With 6x6-W2xW2 WWF | 106258 | 10% | 116883.8 | SF |  |  |  | 0
27 |  | 6-1/2" 4000 PSI Light Weight Concrete Topping Reinforced With #4 @ 12" O.C. Top & Bottom Each Way | 2350 | 10% | 2585 | SF |  |  |  | 0
| DIV. 05 | METALS | [8 empty] | 0
METAL DECK
28 |  | 1.5" Deep Metal Deck 20 Gage Galvanized | 108608 | 10% | 119468.8 | SF |  |  |  | 0
STEEL COLUMNS
29 |  | W10x100 | 258.77 | 10% | 284.647 | LF |  |  |  | 0
30 |  | W10x112 | 164.86 | 10% | 181.346 | LF |  |  |  | 0
31 |  | W10x39 | 79.83 | 10% | 87.813 | LF |  |  |  | 0
32 |  | W10x45 | 1114.94 | 10% | 1226.434 | LF |  |  |  | 0
33 |  | W10x49 | 140.98 | 10% | 155.078 | LF |  |  |  | 0
34 |  | W10x54 | 597.56 | 10% | 657.316 | LF |  |  |  | 0
35 |  | W10x60 | 175.83 | 10% | 193.413 | LF |  |  |  | 0
36 |  | W10x68 | 299.66 | 10% | 329.626 | LF |  |  |  | 0
37 |  | W10x77 | 157.2 | 10% | 172.92 | LF |  |  |  | 0
38 |  | W10x88 | 204.44 | 10% | 224.884 | LF |  |  |  | 0
39 |  | W12x120 | 138.2 | 10% | 152.02 | LF |  |  |  | 0
40 |  | W12x136 | 39.92 | 10% | 43.912 | LF |  |  |  | 0
41 |  | W12x152 | 30.07 | 10% | 33.077 | LF |  |  |  | 0
42 |  | W12x170 | 15.02 | 10% | 16.522 | LF |  |  |  | 0
STEEL TRUSSES
43 |  | Truss #1: HSS10x8x1/2 | 362.43 | 10% | 398.673 | LF |  |  |  | 0
44 |  | Truss #2: HSS12x8x1/2 | 353.7 | 10% | 389.07 | LF |  |  |  | 0
45 |  | Truss #2: HSS8x8x1/2 | 193.49 | 10% | 212.839 | LF |  |  |  | 0
46 |  | Truss #3: HSS8x8x1/2 | 194.76 | 10% | 214.236 | LF |  |  |  | 0
47 |  | Truss #4: HSS12x6x1/2 | 249.33 | 10% | 274.263 | LF |  |  |  | 0
48 |  | Truss #4: HSS12x6x3/8 | 202.27 | 10% | 222.497 | LF |  |  |  | 0
49 |  | Truss #5: HSS10x8x1/2 | 155.41 | 10% | 170.951 | LF |  |  |  | 0
50 |  | Truss #5: HSS8x8x1/2 | 147.97 | 10% | 162.767 | LF |  |  |  | 0
51 |  | Truss #6: HSS8x8x1/2 | 196.4 | 10% | 216.04 | LF |  |  |  | 0
52 |  | Truss #6: HSS8x8x3/8 | 144.27 | 10% | 158.697 | LF |  |  |  | 0
53 |  | Truss #7: HSS8x8x1/2 | 188.58 | 10% | 207.438 | LF |  |  |  | 0
54 |  | Truss #8: HSS8x8x1/2 | 110.99 | 10% | 122.089 | LF |  |  |  | 0
55 |  | Truss #8: HSS8x8x3/8 | 132.84 | 10% | 146.124 | LF |  |  |  | 0
56 |  | Truss #9: HSS12x6x1/2 | 193.04 | 10% | 212.344 | LF |  |  |  | 0
57 |  | Truss #9: HSS12x6x3/8 | 224.56 | 10% | 247.016 | LF |  |  |  | 0
58 |  | Truss #10: HSS8x8x1/2 | 106.72 | 10% | 117.392 | LF |  |  |  | 0
59 |  | Truss #11: HSS8x8x1/2 | 80.65 | 10% | 88.715 | LF |  |  |  | 0
STEEL BEAMS
60 |  | W12x16 | 2567.32 | 10% | 2824.052 | LF |  |  |  | 0
61 |  | W12x19 | 5332.44 | 10% | 5865.684 | LF |  |  |  | 0
62 |  | W12x22 | 64.69 | 10% | 71.159 | LF |  |  |  | 0
63 |  | W12x26 | 2258.41 | 10% | 2484.251 | LF |  |  |  | 0
64 |  | W12x30 | 1680.62 | 10% | 1848.682 | LF |  |  |  | 0
65 |  | W12x35 | 1923.78 | 10% | 2116.158 | LF |  |  |  | 0
66 |  | W12x38 | 33.52 | 10% | 36.872 | LF |  |  |  | 0
67 |  | W12x40 | 1057.08 | 10% | 1162.788 | LF |  |  |  | 0
68 |  | W12x45 | 424.91 | 10% | 467.401 | LF |  |  |  | 0
69 |  | W12x50 | 113.26 | 10% | 124.586 | LF |  |  |  | 0
70 |  | W12x53 | 58.85 | 10% | 64.735 | LF |  |  |  | 0
71 |  | W12x58 | 112.35 | 10% | 123.585 | LF |  |  |  | 0
72 |  | W14X22 | 18.41 | 10% | 20.251 | LF |  |  |  | 0
73 |  | W14X30 | 40.44 | 10% | 44.484 | LF |  |  |  | 0
74 |  | W16X31 | 12.08 | 10% | 13.288 | LF |  |  |  | 0
75 |  | W16x36 | 1515.63 | 10% | 1667.193 | LF |  |  |  | 0
76 |  | W16x40 | 994.95 | 10% | 1094.445 | LF |  |  |  | 0
77 |  | W16x45 | 51.25 | 10% | 56.375 | LF |  |  |  | 0
78 |  | W16x50 | 934.99 | 10% | 1028.489 | LF |  |  |  | 0
79 |  | W16x57 | 1975.42 | 10% | 2172.962 | LF |  |  |  | 0
80 |  | W16x67 | 1348.73 | 10% | 1483.603 | LF |  |  |  | 0
81 |  | W16x77 | 313 | 10% | 344.3 | LF |  |  |  | 0
82 |  | W16x89 | 217.6 | 10% | 239.36 | LF |  |  |  | 0
83 |  | W18x40 | 28.8 | 10% | 31.68 | LF |  |  |  | 0
84 |  | W18x60 | 9.13 | 10% | 10.043 | LF |  |  |  | 0
85 |  | W18x76 | 44.05 | 10% | 48.455 | LF |  |  |  | 0
86 |  | W21x111 | 40.65 | 10% | 44.715 | LF |  |  |  | 0
87 |  | W21x44 | 11.99 | 10% | 13.189 | LF |  |  |  | 0
88 |  | W21x50 | 28.88 | 10% | 31.768 | LF |  |  |  | 0
89 |  | W21x55 | 24.99 | 10% | 27.489 | LF |  |  |  | 0
90 |  | W24x62 | 128.94 | 10% | 141.834 | LF |  |  |  | 0
91 |  | W24x68 | 184.67 | 10% | 203.137 | LF |  |  |  | 0
92 |  | W24x76 | 253.89 | 10% | 279.279 | LF |  |  |  | 0
93 |  | W24x84 | 53.81 | 10% | 59.191 | LF |  |  |  | 0
94 |  | W24x94 | 27.03 | 10% | 29.733 | LF |  |  |  | 0
95 |  | W30x90 | 108.36 | 10% | 119.196 | LF |  |  |  | 0
96 |  | W8x13 | 7.57 | 10% | 8.327 | LF |  |  |  | 0
97 |  | W8x18 | 240.94 | 10% | 265.034 | LF |  |  |  | 0
98 |  | W8x31 | 9.8 | 10% | 10.78 | LF |  |  |  | 0
99 |  | WT12x38 | 10 | 10% | 11 | LF |  |  |  | 0
100 |  | WT8x20 | 89.79 | 10% | 98.769 | LF |  |  |  | 0
STEEL STUDS
101 |  | 2-1/2" steel studs @ 24" O.C | 1753.5 | 10% | 1928.85 | SF |  |  |  | 0
102 |  | 7/8" channel hat steel studs @ 24" O.C | 7951 | 10% | 8746.1 | SF |  |  |  | 0
|  | WALL TYPES | [8 empty] | 0
Wall 1
103 |  | 2-1/2" Metal Studs (25 GA) @ 24" OC | 10872 | 10% | 11959.2 | SF |  |  |  | 0
104 |  | 5/8" Gypsum Wall Board | 21744 | 10% | 23918.4 | SF |  |  |  | 0
105 |  | Paint @ Walls | 10872 | 10% | 11959.2 | SF |  |  |  | 0
106 |  | 2" Thermafiber Sound Attenuation Blanket | 10872 | 10% | 11959.2 | SF |  |  |  | 0
107 |  | Galvanized Stud Track | 906 | 10% | 996.6 | LF |  |  |  | 0
108 |  | 4" Base Trim | 1812 | 10% | 1993.2 | LF |  |  |  | 0
109 |  | Crown Moulding | 1812 | 10% | 1993.2 | LF |  |  |  | 0
Wall 1A
110 |  | 2-1/2" Metal Studs (25 GA) @ 24" OC | 7776 | 10% | 8553.6 | SF |  |  |  | 0
111 |  | 5/8" Gypsum Wall Board | 7776 | 10% | 8553.6 | SF |  |  |  | 0
112 |  | 5/8" Gypsum Wall Board (Moisture Resitant) | 7776 | 10% | 8553.6 | SF |  |  |  | 0
113 |  | Paint @ Walls | 5184 | 10% | 5702.4 | SF |  |  |  | 0
114 |  | Tiles @ Toilet Walls | 2592 | 10% | 2851.2 | SF |  |  |  | 0
115 |  | 2" Thermafiber Sound Attenuation Blanket | 7776 | 10% | 8553.6 | SF |  |  |  | 0
116 |  | Galvanized Stud Track | 648 | 10% | 712.8 | LF |  |  |  | 0
117 |  | 4" Base Trim | 1296 | 10% | 1425.6 | LF |  |  |  | 0
118 |  | Crown Moulding | 1296 | 10% | 1425.6 | LF |  |  |  | 0
Wall 1C
119 |  | 2-1/2" Metal Studs (25 GA) @ 24" OC | 6948 | 10% | 7642.8 | SF |  |  |  | 0
120 |  | 5/8" Cement Board | 13896 | 10% | 15285.6 | SF |  |  |  | 0
121 |  | Paint @ Walls | 6948 | 10% | 7642.8 | SF |  |  |  | 0
122 |  | 2" Thermafiber Sound Attenuation Blanket | 6948 | 10% | 7642.8 | SF |  |  |  | 0
123 |  | Galvanized Stud Track | 579 | 10% | 636.9 | LF |  |  |  | 0
124 |  | 4" Base Trim | 1158 | 10% | 1273.8 | LF |  |  |  | 0
125 |  | Crown Moulding | 1158 | 10% | 1273.8 | LF |  |  |  | 0
Wall 1D
126 |  | 2-1/2" Metal Studs (25 GA) @ 24" OC | 15888 | 10% | 17476.8 | SF |  |  |  | 0
127 |  | 5/8" Gypsum Wall Board | 31776 | 10% | 34953.6 | SF |  |  |  | 0
128 |  | Paint @ Walls | 15888 | 10% | 17476.8 | SF |  |  |  | 0
129 |  | 2" Thermafiber Sound Attenuation Blanket | 15888 | 10% | 17476.8 | SF |  |  |  | 0
130 |  | Galvanized Stud Track | 1324 | 10% | 1456.4 | LF |  |  |  | 0
131 |  | 4" Base Trim | 2648 | 10% | 2912.8 | LF |  |  |  | 0
132 |  | Crown Moulding | 2648 | 10% | 2912.8 | LF |  |  |  | 0
Wall 2
133 |  | Cont. 24GA Steel Plate | 66144 | 10% | 72758.4 | SF |  |  |  | 0
134 |  | 5/8" Gypsum Wall Board | 132288 | 10% | 145516.8 | SF |  |  |  | 0
135 |  | Paint @ Walls | 66144 | 10% | 72758.4 | SF |  |  |  | 0
136 |  | 2" Thermafiber Sound Attenuation Blanket | 66144 | 10% | 72758.4 | SF |  |  |  | 0
137 |  | Galvanized Stud Track | 5512 | 10% | 6063.2 | LF |  |  |  | 0
138 |  | 4" Base Trim | 11024 | 10% | 12126.4 | LF |  |  |  | 0
139 |  | Crown Moulding | 11024 | 10% | 12126.4 | LF |  |  |  | 0
Wall 2B
140 |  | Cont. 24GA Steel Plate | 11700 | 10% | 12870 | SF |  |  |  | 0
141 |  | 5/8" Gypsum Wall Board | 23400 | 10% | 25740 | SF |  |  |  | 0
142 |  | Paint @ Walls | 11700 | 10% | 12870 | SF |  |  |  | 0
143 |  | 2" Thermafiber Sound Attenuation Blanket | 11700 | 10% | 12870 | SF |  |  |  | 0
144 |  | Galvanized Stud Track | 975 | 10% | 1072.5 | LF |  |  |  | 0
145 |  | 4" Base Trim | 1950 | 10% | 2145 | LF |  |  |  | 0
146 |  | Crown Moulding | 1950 | 10% | 2145 | LF |  |  |  | 0
Wall 3
147 |  | Cont. 24GA Steel Plate | 9504 | 10% | 10454.4 | SF |  |  |  | 0
148 |  | 1-5/8" Metal Studs @ 24" OC | 9504 | 10% | 10454.4 | SF |  |  |  | 0
149 |  | 5/8" Gypsum Wall Board | 19008 | 10% | 20908.8 | SF |  |  |  | 0
150 |  | Paint @ Walls | 9504 | 10% | 10454.4 | SF |  |  |  | 0
151 |  | 2" Thermafiber Sound Attenuation Blanket | 9504 | 10% | 10454.4 | SF |  |  |  | 0
152 |  | Galvanized Stud Track | 792 | 10% | 871.2 | LF |  |  |  | 0
153 |  | 4" Base Trim | 1583 | 10% | 1741.3 | LF |  |  |  | 0
154 |  | Crown Moulding | 1583 | 10% | 1741.3 | LF |  |  |  | 0
Wall 3B
155 |  | Cont. 24GA Steel Plate | 10680 | 10% | 11748 | SF |  |  |  | 0
156 |  | 1-5/8" Metal Studs @ 24" OC | 10680 | 10% | 11748 | SF |  |  |  | 0
157 |  | 5/8" Cement Board | 21360 | 10% | 23496 | SF |  |  |  | 0
158 |  | Paint @ Walls | 10680 | 10% | 11748 | SF |  |  |  | 0
159 |  | 2" Thermafiber Sound Attenuation Blanket | 10680 | 10% | 11748 | SF |  |  |  | 0
160 |  | Galvanized Stud Track | 890 | 10% | 979 | LF |  |  |  | 0
161 |  | 4" Base Trim | 1780 | 10% | 1958 | LF |  |  |  | 0
162 |  | Crown Moulding | 1780 | 10% | 1958 | LF |  |  |  | 0
Wall 4
163 |  | Metal Liner | 12744 | 10% | 14018.4 | SF |  |  |  | 0
164 |  | 1" Coreboard | 12744 | 10% | 14018.4 | SF |  |  |  | 0
165 |  | 5/8" Gypsum Board | 12744 | 10% | 14018.4 | SF |  |  |  | 0
166 |  | Paint @ Walls | 12744 | 10% | 14018.4 | SF |  |  |  | 0
167 |  | 4" Base Trim | 2124 | 10% | 2336.4 | LF |  |  |  | 0
168 |  | Steel Angle Runner | 1062 | 10% | 1168.2 | LF |  |  |  | 0
169 |  | Crown Moulding | 1062 | 10% | 1168.2 | LF |  |  |  | 0
Wall 5
170 |  | 2-1/2" Metal Studs C-H @ 24" OC | 11232 | 10% | 12355.2 | SF |  |  |  | 0
171 |  | 1" Coreboard | 11232 | 10% | 12355.2 | SF |  |  |  | 0
172 |  | 5/8" Cement Board | 22464 | 10% | 24710.4 | SF |  |  |  | 0
173 |  | Paint @ Walls | 11232 | 10% | 12355.2 | SF |  |  |  | 0
174 |  | 4" Base Trim 1 | 936 | 10% | 1029.6 | LF |  |  |  | 0
175 |  | Crown Moulding | 936 | 10% | 1029.6 | LF |  |  |  | 0
Wall 3A
176 |  | Cont. 24GA Steel Plate | 312 | 10% | 343.2 | SF |  |  |  | 0
177 |  | 1-5/8" Metal Studs @ 24" OC | 312 | 10% | 343.2 | SF |  |  |  | 0
178 |  | 5/8" Gypsum Wall Board | 624 | 10% | 686.4 | SF |  |  |  | 0
179 |  | Paint @ Walls | 312 | 10% | 343.2 | SF |  |  |  | 0
180 |  | 2" Thermafiber Sound Attenuation Blanket | 312 | 10% | 343.2 | SF |  |  |  | 0
181 |  | Galvanized Stud Track | 26 | 10% | 28.6 | SF |  |  |  | 0
182 |  | 4" Base Trim | 26 | 10% | 28.6 | LF |  |  |  | 0
183 |  | Crown Moulding | 26 | 10% | 28.6 | LF |  |  |  | 0
Furring Wall @ 8" CMU Wall
184 |  | 1-5/8" Metal Stud Furring | 882 | 10% | 970.2 | SF |  |  |  | 0
185 |  | Batt Insulation | 882 | 10% | 970.2 | SF |  |  |  | 0
186 |  | 5/8" Gypsum Wall Board | 882 | 10% | 970.2 | SF |  |  |  | 0
187 |  | Paint @ Walls | 882 | 10% | 970.2 | SF |  |  |  | 0
188 |  | 4" Base Trim | 588 | 10% | 646.8 | LF |  |  |  | 0
189 |  | Crown Moulding | 588 | 10% | 646.8 | LF |  |  |  | 0
| DIV. 06 | WOOD, PLATICS & COMPOSITES | [8 empty] | 0
MILLWORK
190 |  | 2'-3" wooden base cabinets | 94.75 | 10% | 104.225 | LF |  |  |  | 0
191 |  | 3' upper wooden cabinets | 62.92 | 10% | 69.212 | LF |  |  |  | 0
192 |  | Full height cabinets | 71.84 | 10% | 79.024 | LF |  |  |  | 0
193 |  | Full height cabinets & shelves | 24.39 | 10% | 26.829 | LF |  |  |  | 0
194 |  | Laundry shelves | 20.64 | 10% | 22.704 | LF |  |  |  | 0
195 |  | Single rod & single shelf | 12.81 | 10% | 14.091 | LF |  |  |  | 0
| DIV. 07 | THERMAL & MOISTURE PROTECTION | [8 empty] | 0
ROOFING
196 |  | GAF SBS Roofing | 12383 | 10% | 13621.3 | SF |  |  |  | 0
197 |  | Sloped Rigid Insulation | 12383 | 10% | 13621.3 | SF |  |  |  | 0
198 |  | Base Flashing | 476 | 10% | 523.6 | LF |  |  |  | 0
199 |  | Counter Flashing | 476 | 10% | 523.6 | LF |  |  |  | 0
200 |  | Sealant | 952 | 10% | 1047.2 | LF |  |  |  | 0
201 |  | Metal Caping | 476 | 10% | 523.6 | LF |  |  |  | 0
202 |  | Parapet Wall | 4760 | 10% | 5236 | SF |  |  |  | 0
CEILING INSULATION
203 |  | R-19 insulation @ Ceiling | 98050 | 10% | 107855 | SF |  |  |  | 0
204 |  | Weather proof water resistant membrane under balcony flooring | 8299 | 10% | 9128.9 | SF |  |  |  | 0
| DIV. 08 | OPENINGS | [8 empty] | 0
DOORS
205 |  | 3'-6" X 7' wooden door w/ wooden frame, ( Specs. T.B.D ) | 175 | 0% | 175 | EA |  |  |  | 0
206 |  | 3'-4" X 7' wooden decorative door w/ wooden frame, ( Specs. T.B.D ) | 182 | 0% | 182 | EA |  |  |  | 0
207 |  | 3'-6" X 7' fire rated metal door w/ metal frame, ( Specs. T.B.D ) | 29 | 0% | 29 | EA |  |  |  | 0
208 |  | 6'-6" X 7' fire rated metal double door w/ metal frame, ( Specs. T.B.D ) | 2 | 0% | 2 | EA |  |  |  | 0
209 |  | 6' X 7' stainless steel glass double door w/ wooden frame, ( Specs. T.B.D ) | 4 | 0% | 4 | EA |  |  |  | 0
210 |  | 3'-6" X 7'-3" fire rated metal door w/ metal frame, ( Specs. T.B.D ) | 18 | 0% | 18 | EA |  |  |  | 0
211 |  | 3'-6" X 7' wooden door w/ wooden frame, ( Specs. T.B.D ) | 28 | 0% | 28 | EA |  |  |  | 0
212 |  | 6'-6" X 7' wooden door w/ wooden frame, ( Specs. T.B.D ) | 1 | 0% | 1 | EA |  |  |  | 0
213 |  | 4'-8" X 7' wooden closet swing door w/ wooden frame | 3 | 0% | 3 | EA |  |  |  | 0
214 |  | 6' X 7' wooden closet swing door w/ wooden frame | 1 | 0% | 1 | EA |  |  |  | 0
WINDOWS
215 |  | W1 : 8'-3"x15'-8" Window | 1 | 0% | 1 | EA |  |  |  | 0
216 |  | W10 : 14'-0"x15'-10" Window | 2 | 0% | 2 | EA |  |  |  | 0
217 |  | W10A : 9'-10"x13'-10" Window | 2 | 0% | 2 | EA |  |  |  | 0
218 |  | W11 : 13'-5"x15'-10" Window | 2 | 0% | 2 | EA |  |  |  | 0
219 |  | W11B : 9'-10"x13'-6" Window | 2 | 0% | 2 | EA |  |  |  | 0
220 |  | W11C : 3'-2"x9'-10" Window | 2 | 0% | 2 | EA |  |  |  | 0
221 |  | W12 : 9'-10"x36'-10" Window | 1 | 0% | 1 | EA |  |  |  | 0
222 |  | W12A : 9'-10"x36'-10" Window | 1 | 0% | 1 | EA |  |  |  | 0
223 |  | W13 : 10'-0"x11'-0" Window | 8 | 0% | 8 | EA |  |  |  | 0
224 |  | W14 : 10'-0"x17'-5" Window | 1 | 0% | 1 | EA |  |  |  | 0
225 |  | W15 : 13'-0"x19'-6" Window | 1 | 0% | 1 | EA |  |  |  | 0
226 |  | W16 : 10'-0"x10'-0" Window | 1 | 0% | 1 | EA |  |  |  | 0
227 |  | W17 : 10'-0"x11'-0" Window | 1 | 0% | 1 | EA |  |  |  | 0
228 |  | W18 : 10'-0"x11'-0" Window | 1 | 0% | 1 | EA |  |  |  | 0
229 |  | W19 : 10'-0"x10'-6" Window | 1 | 0% | 1 | EA |  |  |  | 0
230 |  | W1A : 6'-10"x14'-2" Window | 3 | 0% | 3 | EA |  |  |  | 0
231 |  | W1B : 8'-6"x15'-6" Window | 3 | 0% | 3 | EA |  |  |  | 0
232 |  | W2 : 8'-3"x15'-6" Window | 1 | 0% | 1 | EA |  |  |  | 0
233 |  | W20 : 10'-0"x10'-5" Window | 1 | 0% | 1 | EA |  |  |  | 0
234 |  | W21 : 6'-0"x6'-6" Window | 10 | 0% | 10 | EA |  |  |  | 0
235 |  | W21A : 6'-0"x6'-6" Window | 60 | 0% | 60 | EA |  |  |  | 0
236 |  | W22 : 7'-10"x11'-0" Window | 1 | 0% | 1 | EA |  |  |  | 0
237 |  | W22A : 6'-10"x11'-0" Window | 6 | 0% | 6 | EA |  |  |  | 0
238 |  | W23 : 7'-10"x8'-0" Window | 1 | 0% | 1 | EA |  |  |  | 0
239 |  | W23A : 6'-10"x8'-0" Window | 6 | 0% | 6 | EA |  |  |  | 0
240 |  | W24A : 6'-10"x16'-0" Window | 7 | 0% | 7 | EA |  |  |  | 0
241 |  | W25 : 8'-3"x9'-3" Window | 1 | 0% | 1 | EA |  |  |  | 0
242 |  | W26 : 6'-10"x11'-6" Window | 3 | 0% | 3 | EA |  |  |  | 0
243 |  | W27A : 6'-10"x9'-0" Window | 3 | 0% | 3 | EA |  |  |  | 0
244 |  | W28A : 3'-8"x6'-10" Window | 7 | 0% | 7 | EA |  |  |  | 0
245 |  | W29 : 7'-10"x11'-4" Window | 1 | 0% | 1 | EA |  |  |  | 0
246 |  | W29A : 6'-10"x11'-7" Window | 6 | 0% | 6 | EA |  |  |  | 0
247 |  | W2A : 6'-10"x15'-10" Window | 3 | 0% | 3 | EA |  |  |  | 0
248 |  | W2B : 8'-6"x15'-10" Window | 3 | 0% | 3 | EA |  |  |  | 0
249 |  | W3 : 8'-3"x15'-6" Window | 1 | 0% | 1 | EA |  |  |  | 0
250 |  | W30 : 6'-10"x9'-0" Window | 3 | 0% | 3 | EA |  |  |  | 0
251 |  | W31A : 6'-10"x11'-6" Window | 4 | 0% | 4 | EA |  |  |  | 0
252 |  | W32 : 3'-8"x8'-3" Window | 2 | 0% | 2 | EA |  |  |  | 0
253 |  | W32A : 3'-8"x6'-10" Window | 12 | 0% | 12 | EA |  |  |  | 0
254 |  | W3A : 8'-6"x15'-5" Window | 3 | 0% | 3 | EA |  |  |  | 0
255 |  | W3B : 6'-10"x15'-5" Window | 3 | 0% | 3 | EA |  |  |  | 0
256 |  | W4 : 8'-3"x15'-0" Window | 1 | 0% | 1 | EA |  |  |  | 0
257 |  | W4A : 8'-6"x16'-3" Window | 3 | 0% | 3 | EA |  |  |  | 0
258 |  | W4B : 6'-10"x15'-0" Window | 3 | 0% | 3 | EA |  |  |  | 0
259 |  | W5 : 8'-6"x11'-0" Window | 3 | 0% | 3 | EA |  |  |  | 0
260 |  | W5A : 8'-6"x11'-0" Window | 25 | 0% | 25 | EA |  |  |  | 0
261 |  | W6 : 8'-6"x10'-8" Window | 2 | 0% | 2 | EA |  |  |  | 0
262 |  | W6A : 8'-6"x10'-7" Window | 7 | 0% | 7 | EA |  |  |  | 0
263 |  | W7 : 8'-6"x16'-2" Window | 1 | 0% | 1 | EA |  |  |  | 0
264 |  | W7A : 8'-6"x16'-0" Window | 6 | 0% | 6 | EA |  |  |  | 0
265 |  | W9 : 7'-3"x12'-5" Window | 1 | 0% | 1 | EA |  |  |  | 0
266 |  | W9A : 9'-10"x12'-4" Window | 1 | 0% | 1 | EA |  |  |  | 0
HARDWARE
267 |  | Allowance For Hardware | 1 | 0% | 1 | LS |  |  |  | 0
| DIV. 09 | FINISHES | [8 empty] | 0
FLOOR FINISHES
268 |  | Concrete pavers, ( Stamped concrete pattern ) | 4267.56 | 10% | 4694.316 | SF |  |  |  | 0
269 |  | Epoxy paint @ floor | 10134.62 | 10% | 11148.082 | SF |  |  |  | 0
270 |  | Hardwood flooring | 1474.81 | 10% | 1622.291 | SF |  |  |  | 0
271 |  | Luxury vinyl tiles | 6822.97 | 10% | 7505.267 | SF |  |  |  | 0
272 |  | Stone pavers @ balcony | 5768 | 10% | 6344.8 | SF |  |  |  | 0
273 |  | Ceramic tiles @ floor | 724 | 10% | 796.4 | SF |  |  |  | 0
274 |  | Wooden deck @ balcony | 2531 | 10% | 2784.1 | SF |  |  |  | 0
275 |  | Rubber flooring | 269.56 | 10% | 296.516 | SF |  |  |  | 0
276 |  | Carpet Flooring @ Corridor | 8553 | 10% | 9408.3 | SF |  |  |  | 0
277 |  | Ceramic Tile Flooring @ Toilet | 5892 | 10% | 6481.2 | SF |  |  |  | 0
278 |  | Hardwood Flooring @ Units | 35019 | 10% | 38520.9 | SF |  |  |  | 0
WALL BASE
279 |  | Ceramicl tile base | 99 | 10% | 108.9 | LF |  |  |  | 0
280 |  | 1"X6" Wooden base | 1317 | 10% | 1448.7 | LF |  |  |  | 0
281 |  | Rubber base | 72 | 10% | 79.2 | LF |  |  |  | 0
WALL FINISHES
282 |  | Ceramic wall tile | 1098 | 10% | 1207.8 | SF |  |  |  | 0
UNDER STAIRS FINISHES
283 |  | 1/2" Gypsum wall board under stringers of stairs | 7014 | 10% | 7715.4 | SF |  |  |  | 0
284 |  | Paint @ gypsum board | 7014 | 10% | 7715.4 | SF |  |  |  | 0
CEILING FINISHES
285 |  | 24" X 24" Suspended ceiling grid w/ accoustical ceiling | 3069.33 | 10% | 3376.263 | SF |  |  |  | 0
286 |  | 5/8" type 'X' gypsum wall board | 15901.08 | 10% | 17491.188 | SF |  |  |  | 0
287 |  | Paint @ ceiling, ( Open to structure ) | 47407.45 | 10% | 52148.195 | SF |  |  |  | 0
288 |  | Wood veneer ceiling | 31672.32 | 10% | 34839.552 | SF |  |  |  | 0
289 |  | Paint @ Gypsum board | 7951 | 10% | 8746.1 | SF |  |  |  | 0
EXTERIOR FINISHES
290 |  | Acrylic Stucco | 7216.19 | 10% | 7937.809 | SF |  |  |  | 0
291 |  | Porcelanosa 24x48 Rain Screen | 22736.68 | 10% | 25010.348 | SF |  |  |  | 0
292 |  | Railing Glass | 1313.29 | 10% | 1444.619 | LF |  |  |  | 0
293 |  | Wood Deck | 1059.72 | 10% | 1165.692 | SF |  |  |  | 0
|  | STAIRS & RAILINGS | [8 empty] | 0
294 |  | 6.48" riser concrete filled treads w/ wire mesh reinforcing in metal pans | 168 | 0% | 168 | RISER |  |  |  | 0
295 |  | 7" riser concrete filled treads w/ wire mesh reinforcing in metal pans | 184 | 0% | 184 | RISER |  |  |  | 0
296 |  | 7" riser concrete stairs (32 ) | 32 | 0% | 32 | RISER |  |  |  | 0
297 |  | 34" high 1-1/2" diaX13 Ga. steel pipe stair hand rail | 500.84 | 10% | 550.924 | LF |  |  |  | 0
298 |  | 36" high stair hand railing | 118.8 | 10% | 130.68 | LF |  |  |  | 0
| DIV. 10 | SPECIALITIES | [8 empty] | 0
299 |  | 13'-6" X 7'-6" double strand parking stand | 63 | 0% | 63 | EA |  |  |  | 0
300 |  | Tempered glass wall | 363.16 | 10% | 399.476 | SF |  |  |  | 0
301 |  | Toilet partition wall w/ doors | 39.6 | 10% | 43.56 | LF |  |  |  | 0
302 |  | Traffic signage arrows | 1 | 0% | 1 | LS |  |  |  | 0
303 |  | 36" grab bars | 8 | 0% | 8 | EA |  |  |  | 0
304 |  | 42" grab bars | 8 | 0% | 8 | EA |  |  |  | 0
305 |  | Toilet mirrors | 8 | 0% | 8 | EA |  |  |  | 0
306 |  | Soap dispensers | 8 | 0% | 8 | EA |  |  |  | 0
307 |  | Toilet paper dispensers | 8 | 0% | 8 | EA |  |  |  | 0
308 |  | Electric hand dryers | 8 | 0% | 8 | EA |  |  |  | 0
309 |  | Grab Bars | 364 | 0% | 364 | EA |  |  |  | 0
310 |  | Mirrors | 182 | 0% | 182 | EA |  |  |  | 0
311 |  | Glass Shower Wall | 805 | 10% | 885.5 | LF |  |  |  | 0
| DIV. 11 | EQUIPMENTS | [8 empty] | 0
312 |  | Exhaust hood, ( 20' wide & 5'-9" deep ) | 1 | 0% | 1 | EA |  |  |  | 0
313 |  | Kitchen stove oven | 1 | 0% | 1 | EA |  |  |  | 0
314 |  | Linen chutes | 1 | 0% | 1 | EA |  |  |  | 0
315 |  | Walk-in cooler, ( 9' X10' ) | 1 | 0% | 1 | EA |  |  |  | 0
316 |  | Walk-in freezer, ( 9' X10' ) | 1 | 0% | 1 | EA |  |  |  | 0
317 |  | Washer & dryers | 2 | 0% | 2 | EA |  |  |  | 0
318 |  | 6'-0"x6'-5" Elevators | 3 | 0% | 3 | EA |  |  |  | 0
| DIV. 12 | FURNISHINGS | [8 empty] | 0
319 |  | 1" granite countertop | 299.62 | 10% | 329.582 | SF |  |  |  | 0
320 |  | 1-1/4" quartz bar countertop | 204.78 | 10% | 225.258 | SF |  |  |  | 0
321 |  | 3/4" granite countertop | 24.24 | 10% | 26.664 | SF |  |  |  | 0
322 |  | 3/4" Toilet Countertop | 698 | 10% | 767.8 | SF |  |  |  | 0
323 |  | Bar Countertop | 63 | 10% | 69.3 | SF |  |  |  | 0
| DIV. 22 | PLUMBING | [8 empty] | 0
PIPING
324 |  | 1" Pipe | 286.93 | 10% | 315.623 | LF |  |  |  | 0
325 |  | 10" Pipe | 91.94 | 10% | 101.134 | LF |  |  |  | 0
326 |  | 10" Sanitary Pipe | 48.4 | 10% | 53.24 | LF |  |  |  | 0
327 |  | 1-1/2" Pipe | 45.84 | 10% | 50.424 | LF |  |  |  | 0
328 |  | 1-1/4" Pipe | 41.41 | 10% | 45.551 | LF |  |  |  | 0
329 |  | 2" Drain Pipe | 58.95 | 10% | 64.845 | LF |  |  |  | 0
330 |  | 2" Pipe | 1086.72 | 10% | 1195.392 | LF |  |  |  | 0
331 |  | 2" Vent Pipe | 339.7 | 10% | 373.67 | LF |  |  |  | 0
332 |  | 2-1/2" Pipe | 1162.43 | 10% | 1278.673 | LF |  |  |  | 0
333 |  | 3" Pipe | 603.46 | 10% | 663.806 | LF |  |  |  | 0
334 |  | 4" Pipe | 201.92 | 10% | 222.112 | LF |  |  |  | 0
335 |  | 4" Sanitary Pipe | 257.09 | 10% | 282.799 | LF |  |  |  | 0
336 |  | 4" Waste Pipe | 238.46 | 10% | 262.306 | LF |  |  |  | 0
337 |  | 6" Pipe | 16.43 | 10% | 18.073 | LF |  |  |  | 0
338 |  | 6" Sanitary Pipe | 110.35 | 10% | 121.385 | LF |  |  |  | 0
339 |  | 8" Pipe | 51.57 | 10% | 56.727 | LF |  |  |  | 0
340 |  | 8" Sanitary Pipe | 212.24 | 10% | 233.464 | LF |  |  |  | 0
341 |  | 1" Hot Water Pipe | 6.59 | 10% | 7.249 | LF |  |  |  | 0
342 |  | 1" Chilled Water Pipe | 6.59 | 10% | 7.249 | LF |  |  |  | 0
343 |  | 1" HWR Pipe | 6.59 | 10% | 7.249 | LF |  |  |  | 0
344 |  | 2" Hot Water Pipe | 1647.86 | 10% | 1812.646 | LF |  |  |  | 0
345 |  | 2" Chilled Water Pipe | 1647.86 | 10% | 1812.646 | LF |  |  |  | 0
346 |  | 2" HWR Pipe | 1647.86 | 10% | 1812.646 | LF |  |  |  | 0
347 |  | 4" VTR Pipe | 1051.65 | 10% | 1156.815 | LF |  |  |  | 0
348 |  | 6" Storm Water Pipe | 287.28 | 10% | 316.008 | LF |  |  |  | 0
PLUMBING EQUIPMENTS
349 |  | 12" Wide Trench Drain | 2 | 0% | 2 | EA |  |  |  | 0
350 |  | 12'x12'x4' Deep Storm Water Detention Under Slab Supported By 2' Donnage | 1 | 0% | 1 | EA |  |  |  | 0
351 |  | 2" Capped Test Tee w/ Valve | 1 | 0% | 1 | EA |  |  |  | 0
352 |  | 2'x2'x2' Deep Sump Pump | 2 | 0% | 2 | EA |  |  |  | 0
353 |  | 3/4" Hose Bib | 3 | 0% | 3 | EA |  |  |  | 0
354 |  | 4" Back Water Valve | 2 | 0% | 2 | EA |  |  |  | 0
355 |  | 4" Domestic Water House Control Valve | 1 | 0% | 1 | EA |  |  |  | 0
356 |  | 4" Floor Drain | 14 | 0% | 14 | EA |  |  |  | 0
357 |  | 4" Meter Outlet Control OS&Y Valve | 1 | 0% | 1 | EA |  |  |  | 0
358 |  | 4" Roof Drain | 8 | 0% | 8 | EA |  |  |  | 0
359 |  | 4" RPZ-Wilkins Model 375A-OSY | 1 | 0% | 1 | EA |  |  |  | 0
360 |  | 4" Water Valve | 1 | 0% | 1 | EA |  |  |  | 0
361 |  | 4'x4'x5' Deep Sump Pump Under Slab | 1 | 0% | 1 | EA |  |  |  | 0
362 |  | 6" Fire Water | 1 | 0% | 1 | EA |  |  |  | 0
363 |  | 6" Fire Water House Control Valve | 1 | 0% | 1 | EA |  |  |  | 0
364 |  | 6" Wilkins 350ADA-OSY CDA w/ 3/4" Bypass Meter | 1 | 0% | 1 | EA |  |  |  | 0
365 |  | DWB-1 : Triplex Domestic Water Booster Pump | 3 | 0% | 3 | EA |  |  |  | 0
366 |  | Gas Meter & Regulator Installed Outside The Building By Local Utility Copmany | 1 | 0% | 1 | EA |  |  |  | 0
367 |  | HWH-1 : Domestic Hot Water Heating Boiler, Aerco Model 2500 | 1 | 0% | 1 | EA |  |  |  | 0
368 |  | HWH-2 : Domestic Hot Water Heating Boiler, Swep BHX Model 2500 | 1 | 0% | 1 | EA |  |  |  | 0
369 |  | HWH-3 : Domestic Hot Water Heating Boiler, Swep BHX Model 2500 | 1 | 0% | 1 | EA |  |  |  | 0
370 |  | HWT-1 : | 1 | 0% | 1 | EA |  |  |  | 0
371 |  | HWT-2 : | 1 | 0% | 1 | EA |  |  |  | 0
372 |  | RC-1 : Hot Water Circulation Pump, Bell & Gosset Model PD-35, 1725 RPM | 1 | 0% | 1 | EA |  |  |  | 0
373 |  | RC-2 : Hot Water Circulation Pump, Bell & Gosset Model PD-35, 1725 RPM | 1 | 0% | 1 | EA |  |  |  | 0
374 |  | SE-1 : Duplex Sewage Ejector | 2 | 0% | 2 | EA |  |  |  | 0
375 |  | Shut Off Valve & Regulator 4" Meter Inlet Control OS&Y Valve | 1 | 0% | 1 | EA |  |  |  | 0
376 |  | SP-1 : Elevator Pit Ejector | 1 | 0% | 1 | EA |  |  |  | 0
377 |  | SP-2 : Elevator Pit Ejector | 1 | 0% | 1 | EA |  |  |  | 0
378 |  | TFP-1 : Duplex Domestic Water Booster Pump | 2 | 0% | 2 | EA |  |  |  | 0
379 |  | TMV-1 : | 1 | 0% | 1 | EA |  |  |  | 0
PLUMBING FIXTURES
380 |  | Dishwasher | 1 | 0% | 1 | EA |  |  |  | 0
381 |  | Hand Sink | 10 | 0% | 10 | EA |  |  |  | 0
382 |  | Mop Sink | 1 | 0% | 1 | EA |  |  |  | 0
383 |  | Wall Mounted Drinking Fountain | 1 | 0% | 1 | EA |  |  |  | 0
384 |  | Lavatory w/ Water Faucets | 182 | 0% | 182 | EA |  |  |  | 0
385 |  | Shower Pan w/ Shower Head | 175 | 0% | 175 | EA |  |  |  | 0
386 |  | Water Closets | 182 | 0% | 182 | EA |  |  |  | 0
| DIV. 23 | MECHANICAL | [8 empty] | 0
DUCTS
387 |  | 10 x 10 Duct | 122 | 10% | 134.2 | LF |  |  |  | 0
388 |  | 16 x 10 Duct | 65 | 10% | 71.5 | LF |  |  |  | 0
389 |  | 4 x 4 Duct | 831 | 10% | 914.1 | LF |  |  |  | 0
390 |  | 6 x 6 Duct | 1172 | 10% | 1289.2 | LF |  |  |  | 0
391 |  | 10 x 6 Duct | 142.26 | 10% | 156.486 | LF |  |  |  | 0
392 |  | 12 x 10 Duct | 148.53 | 10% | 163.383 | LF |  |  |  | 0
393 |  | 12 x 12 Duct | 72.8 | 10% | 80.08 | LF |  |  |  | 0
394 |  | 18 x 10 Duct | 349 | 10% | 383.9 | LF |  |  |  | 0
395 |  | 18 x 12 Duct | 49.59 | 10% | 54.549 | LF |  |  |  | 0
396 |  | 20 x 12 Duct | 26.77 | 10% | 29.447 | LF |  |  |  | 0
397 |  | 28 x 12 Duct | 38.16 | 10% | 41.976 | LF |  |  |  | 0
398 |  | 34 x 12 Duct | 35.78 | 10% | 39.358 | LF |  |  |  | 0
399 |  | 8 x 10 Duct | 8.86 | 10% | 9.746 | LF |  |  |  | 0
400 |  | 8 x 8 Duct | 174 | 10% | 191.4 | LF |  |  |  | 0
401 |  | 12 x 16 Duct | 20.61 | 10% | 22.671 | LF |  |  |  | 0
402 |  | 12 x 6 Duct | 70.81 | 10% | 77.891 | LF |  |  |  | 0
403 |  | 12 x 8 Duct | 28.95 | 10% | 31.845 | LF |  |  |  | 0
404 |  | 14 x 10 Duct | 39 | 10% | 42.9 | LF |  |  |  | 0
405 |  | 14 x 6 Duct | 65.27 | 10% | 71.797 | LF |  |  |  | 0
406 |  | 14 x 8 Duct | 185.38 | 10% | 203.918 | LF |  |  |  | 0
407 |  | 16 x 10 Duct | 107.35 | 10% | 118.085 | LF |  |  |  | 0
408 |  | 16 x 8 Duct | 115 | 10% | 126.5 | LF |  |  |  | 0
409 |  | 18 x 12 Duct | 96 | 10% | 105.6 | LF |  |  |  | 0
410 |  | 20 x 10 Duct | 242 | 10% | 266.2 | LF |  |  |  | 0
411 |  | 22 x 10 Duct | 94.36 | 10% | 103.796 | LF |  |  |  | 0
412 |  | 24 x 10 Duct | 18 | 10% | 19.8 | LF |  |  |  | 0
413 |  | 24 x 12 Duct | 102.86 | 10% | 113.146 | LF |  |  |  | 0
414 |  | 24 x 8 Duct | 38.3 | 10% | 42.13 | LF |  |  |  | 0
415 |  | 26 x 26 Duct | 13.7 | 10% | 15.07 | LF |  |  |  | 0
416 |  | 28 x 10 Duct | 21.74 | 10% | 23.914 | LF |  |  |  | 0
417 |  | 28 x 14 Duct | 42.69 | 10% | 46.959 | LF |  |  |  | 0
418 |  | 30 x 10 Duct | 43.81 | 10% | 48.191 | LF |  |  |  | 0
419 |  | 32 x 12 Duct | 355.77 | 10% | 391.347 | LF |  |  |  | 0
420 |  | 34 x 10 Duct | 18.58 | 10% | 20.438 | LF |  |  |  | 0
421 |  | 48 x 12 Duct | 86.39 | 10% | 95.029 | LF |  |  |  | 0
422 |  | 8 x 6 Duct | 75.98 | 10% | 83.578 | LF |  |  |  | 0
423 |  | 8 x 8 Duct | 77.41 | 10% | 85.151 | LF |  |  |  | 0
PIPES
424 |  | 3" Fuel Oil Return Pipe | 19.82 | 10% | 21.802 | LF |  |  |  | 0
425 |  | 3" Fuel Oil Supply Pipe | 36.45 | 10% | 40.095 | LF |  |  |  | 0
426 |  | 18x18 Fuel Oil Fill Box | 1 | 0% | 1 | EA |  |  |  | 0
HOTEL GUESTROOM AIR OUTLETS
427 |  | TR-A, 310 CFM,Model-300RL 24"x6", Manufacturer-Titus | 15 | 0% | 15 | EA |  |  |  | 0
428 |  | TR-A, 230 CFM, Model-300RL 24"x6", Manufacturer-Titus | 8 | 0% | 8 | EA |  |  |  | 0
429 |  | TR-A, 250 CFM,Model-300RL 24"x6", Manufacturer-Titus | 105 | 0% | 105 | EA |  |  |  | 0
430 |  | TR-A, 360 CFM,Model-300RL 24"x6", Manufacturer-Titus | 20 | 0% | 20 | EA |  |  |  | 0
431 |  | TR-B, 450 CFM,Model-300RL 30"x6", Manufacturer-Titus | 9 | 0% | 9 | EA |  |  |  | 0
432 |  | TR-C, 570 CFM ,Model-300RL 36"x6", Manufacturer-Titus | 6 | 0% | 6 | EA |  |  |  | 0
433 |  | TR-C, 570 CFM, Model-300RL 36"x6", Manufacturer-Titus | 1 | 0% | 1 | EA |  |  |  | 0
AIR OUTLET/INLETS
434 |  | SG-A, 25 CFM,Supply, 18x8, Model-Titus-300RL | 20 | 0% | 20 | EA |  |  |  | 0
435 |  | SG-A, 50 CFM ,Supply, 18x8, Model-Titus-300RL | 6 | 0% | 6 | EA |  |  |  | 0
436 |  | SG-SP, 100 CFM ,Supply, 16x20, Model-Titus-300RL | 7 | 0% | 7 | EA |  |  |  | 0
437 |  | SG-SP, 1000 CFM,Supply, 16x20, Model-Titus-300RL | 18 | 0% | 18 | EA |  |  |  | 0
438 |  | RG-1, 500 CFM, Return, 20x14, Model-Titus-355RL | 18 | 0% | 18 | EA |  |  |  | 0
439 |  | RG-1, 25CFM, Return, 20x14, Model-Titus-355RL | 7 | 0% | 7 | EA |  |  |  | 0
440 |  | EG-1, 50 CFM, Exhaust, 8x8, Model-Titus-355RL | 3 | 0% | 3 | EA |  |  |  | 0
441 |  | EG-1, 70 CFM,Exhaust, 8x8, Model-Titus-355RL | 6 | 0% | 6 | EA |  |  |  | 0
442 |  | EG-2, 105 CFM,Exhaust, 12x8, Model-Titus-355RL | 4 | 0% | 4 | EA |  |  |  | 0
ELECTRIC FLOOR HEATING MAT.
443 |  | EFMH, 300W, 120 V, 60 Hz , Manufacteurer- NU HEAT | 14 | 0% | 14 | EA |  |  |  | 0
444 |  | EFMH, 600W,120 V, 60 Hz , Manufacteurer- NU HEAT | 125 | 0% | 125 | EA |  |  |  | 0
445 |  | EFMH, 900W,120 V, 60 Hz , Manufacteurer- NU HEAT | 14 | 0% | 14 | EA |  |  |  | 0
ELECTRIC UNIT HEATER
446 |  | EUH-1, 350 CFM, 5 KW, 208 V, 60 HZ, Model-MUH0521, Manufacturer Marley/Qmark | 3 | 0% | 3 | EA |  |  |  | 0
447 |  | EUH-2,350 CFM, 3 KW, 208 V, 60 HZ, Model-MUH0381, Manufacturer Marley/Qmark | 4 | 0% | 4 | EA |  |  |  | 0
448 |  | EUH-3,350 CFM, 1.8 KW, 208 V, 60 HZ, Model-SSAR1802, Manufacturer Marley/Qmark | 1 | 0% | 1 | EA |  |  |  | 0
LOUVERS
449 |  | Exhaust Louver-12 Gross SQFT MIN | 2 | 0% | 2 | EA |  |  |  | 0
450 |  | Exhaust Louver-13 Gross SQFT MIN | 1 | 0% | 1 | EA |  |  |  | 0
451 |  | Exhaust Louver-9 Gross SQFT MIN | 3 | 0% | 3 | EA |  |  |  | 0
452 |  | Make Up Air Louver-18 Gross SQFT MIN | 1 | 0% | 1 | EA |  |  |  | 0
453 |  | Make Up Air Louver-9 Gross SQFT MIN | 1 | 0% | 1 | EA |  |  |  | 0
FANS
454 |  | EP-N: Elevator Pressurization Fan 10000 CFM , Total Weight 425, Manufacturer-Greenheck, Voltage 208, Phase 3 | 1 | 0% | 1 | EA |  |  |  | 0
455 |  | EP-S: Elevator Pressurization Fan 10000 CFM,Total Weight 425,Manufacturer-Greenheck, Voltage 208, Phase 3 | 1 | 0% | 1 | EA |  |  |  | 0
456 |  | SP-N: Stair Pressurization Fan 10000 CFM,Total Weight 425, Manufacturer-Greenheck, Voltage 208, Phase 3 | 1 | 0% | 1 | EA |  |  |  | 0
457 |  | SP-S: Stair Pressurization Fan 10000 CFM,Total Weight 425, Manufacturer-Greenheck, Voltage 208, Phase 3 | 1 | 0% | 1 | EA |  |  |  | 0
458 |  | SX-1,Total Weight 144, Manufacturer-Greenheck, Voltage 208, Phase 1 | 1 | 0% | 1 | EA |  |  |  | 0
459 |  | EF-MER-S,Total Weight 37, Manufacturer-Greenheck, Voltage 208, Phase 1 | 1 | 0% | 1 | EA |  |  |  | 0
460 |  | EF-MER-N,Total Weight 37, Manufacturer-Greenheck, Voltage 208, Phase 1 | 1 | 0% | 1 | EA |  |  |  | 0
461 |  | GEF-1C,Total Weight 144, Manufacturer-Greenheck, Voltage 208, Phase 1 | 1 | 0% | 1 | EA |  |  |  | 0
462 |  | GEF-2C,Total Weight 144, Manufacturer-Greenheck, Voltage 208, Phase 1 | 1 | 0% | 1 | EA |  |  |  | 0
463 |  | GEF-3C,Total Weight 144, Manufacturer-Greenheck, Voltage 208, Phase 1 | 1 | 0% | 1 | EA |  |  |  | 0
464 |  | GEF-1G,Total Weight 149, Manufacturer-Greenheck, Voltage 208, Phase 1 | 1 | 0% | 1 | EA |  |  |  | 0
465 |  | GEF-2G, Total Weight 149, Manufacturer-Greenheck, Voltage 208, Phase 1 | 1 | 0% | 1 | EA |  |  |  | 0
466 |  | GEF-3G,Total Weight 149, Manufacturer-Greenheck, Voltage 208, Phase 1 | 1 | 0% | 1 | EA |  |  |  | 0
467 |  | MAF-1G, Total Weight 139, Manufacturer-Greenheck, Voltage 208, Phase 1 | 1 | 0% | 1 | EA |  |  |  | 0
468 |  | MAF-2G, Total Weight 139, Manufacturer-Greenheck, Voltage 208, Phase 1 | 1 | 0% | 1 | EA |  |  |  | 0
469 |  | MAF-3G, Total Weight 139, Manufacturer-Greenheck, Voltage 208, Phase 1 | 1 | 0% | 1 | EA |  |  |  | 0
470 |  | EF-Loading Total Weight 49, Manufacturer-Greenheck, Voltage 208, Phase 1 | 1 | 0% | 1 | EA |  |  |  | 0
471 |  | KX-1,Total Weight 480, Manufacturer-Greenheck, Voltage 208, Phase 3 | 1 | 0% | 1 | EA |  |  |  | 0
472 |  | DWX-1, Total Weight 192, Manufacturer-Greenheck, Voltage 208, Phase 3 | 1 | 0% | 1 | EA |  |  |  | 0
473 |  | EF-M-1,Total Weight 146, Manufacturer-Greenheck, Voltage 208, Phase 1 | 1 | 0% | 1 | EA |  |  |  | 0
474 |  | EF-FO, Total Weight 54, Manufacturer-Greenheck, Voltage 208, Phase 1 | 1 | 0% | 1 | EA |  |  |  | 0
475 |  | TRX-C1,Total Weight 54, Manufacturer-Greenheck, Voltage 208, Phase 1 | 1 | 0% | 1 | EA |  |  |  | 0
476 |  | TX-G-1, Total Weight 54, Manufacturer-Greenheck, Voltage 208, Phase 1 | 1 | 0% | 1 | EA |  |  |  | 0
477 |  | TX-C-1,Total Weight 35, Manufacturer-Greenheck, Voltage 208, Phase 1 | 1 | 0% | 1 | EA |  |  |  | 0
CEILING AIR OUTLETS
478 |  | CD-A, 50 CFM, 24x24, Manufacturer-Titus, Model-Omni | 1 | 0% | 1 | EA |  |  |  | 0
479 |  | CD-B, 125 CFM , 24x24, Manufacturer-Titus, Model-Omni | 2 | 0% | 2 | EA |  |  |  | 0
480 |  | CD-D, 275 CFM , 24x24, Manufacturer-Titus, Model-Omni | 1 | 0% | 1 | EA |  |  |  | 0
481 |  | CD-E, 400 CFM , 24x24, Manufacturer-Titus, Model-Omni | 1 | 0% | 1 | EA |  |  |  | 0
482 |  | CD-F, 600 CFM , 24x24, Manufacturer-Titus, Model-Omni | 8 | 0% | 8 | EA |  |  |  | 0
LINEAR DIFFUSERS
483 |  | LD-CT-1, 50 CFM, Supply, Model-Titus/FL-15 | 1 | 0% | 1 | EA |  |  |  | 0
484 |  | LD-LF-1,250 CFM,Supply, Model-Titus/FL-15 | 2 | 0% | 2 | EA |  |  |  | 0
485 |  | LD-CT-1,200 CFM, Supply, Model-Titus/FL-15 | 33 | 0% | 33 | EA |  |  |  | 0
486 |  | LD-CT-2,300 CFM,Supply, Model-Titus/FL-25 | 5 | 0% | 5 | EA |  |  |  | 0
487 |  | LD-FL-1, 200 CFM,Supply, Model-Titus/FL-10 | 1 | 0% | 1 | EA |  |  |  | 0
488 |  | LD-FL-2, 1600 CFM,Supply, Model-Titus/FL-20 | 1 | 0% | 1 | EA |  |  |  | 0
489 |  | LD-FL-2, 320 CFM,Supply, Model-Titus/FL-20 | 2 | 0% | 2 | EA |  |  |  | 0
490 |  | LD-FL-2, 480 CFM,Supply, Model-Titus/FL-20 | 2 | 0% | 2 | EA |  |  |  | 0
491 |  | LD-FL-3, 600 CFM,Supply, Model-Titus/FL-30 | 1 | 0% | 1 | EA |  |  |  | 0
THERMOSTATE
492 |  | Thermostate | 195 | 0% | 195 | EA |  |  |  | 0
VRF INDOOR UNITS
493 |  | AC-07,Total Cooling 7500 BTU/h, Model-ARNU073L1G4, Type-Duct_Low_Static , Cooling DB 76, Cooling WB 65, Heating DB 68, Volts 208-230 V, Phase 1Ph, HZ 60Hz, | 27 | 0% | 27 | EA |  |  |  | 0
494 |  | AC-09,Total Cooling 9600 BTU/h, Model-ARNU093L1G4, Type-Duct_Low_Static , Cooling DB 76, Cooling WB 65, Heating DB 68, Volts 208-230 V, Phase 1Ph, HZ 60Hz, | 98 | 0% | 98 | EA |  |  |  | 0
495 |  | AC-12,Total Cooling 12300 BTU/h, Model-ARNU123L2G4, Type-Duct_Low_Static , Cooling DB 76, Cooling WB 65, Heating DB 68, Volts 208-230 V, Phase 1Ph, HZ 60Hz, | 15 | 0% | 15 | EA |  |  |  | 0
496 |  | AC-15,Total Cooling 15400 BTU/h,Model-ARNU153L2G4, Type-Duct_Low_Static , Cooling DB 76, Cooling WB 65, Heating DB 68, Volts 208-230 V, Phase 1Ph, HZ 60Hz, | 26 | 0% | 26 | EA |  |  |  | 0
497 |  | AC-18,Total Cooling 19100 BTU/h, Model-ARNU183L2G4, Type-Duct_Low_Static , Cooling DB 76, Cooling WB 65, Heating DB 68, Volts 208-230 V, Phase 1Ph, HZ 60Hz, | 7 | 0% | 7 | EA |  |  |  | 0
498 |  | AC-18X,Total Cooling 19100 BTU/h, Model-ARNU183BHA4, Type-Duct_Low_Static , Cooling DB 76, Cooling WB 65, Heating DB 68, Volts 208-230 V, Phase 1Ph, HZ 60Hz, | 8 | 0% | 8 | EA |  |  |  | 0
499 |  | AC-24,Total Cooling 24000 BTU/h, Model-ARNU243L3G4, Type-Duct_Low_Static , Cooling DB 76, Cooling WB 65, Heating DB 68, Volts 208-230 V, Phase 1Ph, HZ 60Hz, | 7 | 0% | 7 | EA |  |  |  | 0
500 |  | AC-24X,Total Cooling 24200 BTU/h, Model-ARNU243BHA4, Type-Duct_Low_Static , Cooling DB 76, Cooling WB 65, Heating DB 68, Volts 208-230 V, Phase 1Ph, HZ 60Hz, | 1 | 0% | 1 | EA |  |  |  | 0
501 |  | AC-B1,Total Cooling 48100 BTU/h, Model-ARNU483BRA4, Type-Duct_Low_Static , Cooling DB 76, Cooling WB 65, Heating DB 68, Volts 208-230 V, Phase 1Ph, HZ 60Hz, | 1 | 0% | 1 | EA |  |  |  | 0
502 |  | AC-B2,Total Cooling 48100 BTU/h, Model-ARNU483BRA4, Type-Duct_Low_Static , Cooling DB 76, Cooling WB 65, Heating DB 68, Volts 208-230 V, Phase 1Ph, HZ 60Hz, | 1 | 0% | 1 | EA |  |  |  | 0
503 |  | AC-BP,Total Cooling 12300 BTU/h, Model-ARNU123BHA4, Type-Duct_Low_Static , Cooling DB 76, Cooling WB 65, Heating DB 68, Volts 208-230 V, Phase 1Ph, HZ 60Hz, | 1 | 0% | 1 | EA |  |  |  | 0
504 |  | AC-CV,Total Cooling 28000 BTU/h,Model-ARNU283GA4, Type-Duct_Low_Static , Cooling DB 76, Cooling WB 65, Heating DB 68, Volts 208-230 V, Phase 1Ph, HZ 60Hz, | 1 | 0% | 1 | EA |  |  |  | 0
505 |  | AC-GY,Total Cooling 48100 BTU/h, Model-ARNU483BRA4, Type-Duct_Low_Static , Cooling DB 76, Cooling WB 65, Heating DB 68, Volts 208-230 V, Phase 1Ph, HZ 60Hz, | 1 | 0% | 1 | EA |  |  |  | 0
506 |  | AC-L1,Total Cooling 54000 BTU/h, Model-ARNU543BRA4, Type-Duct_Low_Static , Cooling DB 76, Cooling WB 65, Heating DB 68, Volts 208-230 V, Phase 1Ph, HZ 60Hz, | 1 | 0% | 1 | EA |  |  |  | 0
507 |  | AC-L2,Total Cooling 54000 BTU/h, Model-ARNU543BRA4, Type-Duct_Low_Static , Cooling DB 76, Cooling WB 65, Heating DB 68, Volts 208-230 V, Phase 1Ph, HZ 60Hz, | 1 | 0% | 1 | EA |  |  |  | 0
508 |  | AC-L3,Total Cooling 54000 BTU/h, Model-ARNU543BRA4, Type-Duct_Low_Static , Cooling DB 76, Cooling WB 65, Heating DB 68, Volts 208-230 V, Phase 1Ph, HZ 60Hz, | 1 | 0% | 1 | EA |  |  |  | 0
509 |  | AC-L4,Total Cooling 7500 BTU/h, Model-ARNU073BHA4, Type-Duct_Low_Static , Cooling DB 76, Cooling WB 65, Heating DB 68, Volts 208-230 V, Phase 1Ph, HZ 60Hz, | 1 | 0% | 1 | EA |  |  |  | 0
510 |  | AC-L5,Total Cooling 19100 BTU/h, Model-ARNU183BHA4, Type-Duct_Low_Static , Cooling DB 76, Cooling WB 65, Heating DB 68, Volts 208-230 V, Phase 1Ph, HZ 60Hz, | 1 | 0% | 1 | EA |  |  |  | 0
511 |  | AC-LF,Total Cooling 36200 BTU/h,Model-ARNU363GA4, Type-Duct_Low_Static , Cooling DB 76, Cooling WB 65, Heating DB 68, Volts 208-230 V, Phase 1Ph, HZ 60Hz, | 1 | 0% | 1 | EA |  |  |  | 0
512 |  | AC-MN,Total Cooling 36200 BTU/h,Model-ARNU363GA4, Type-Duct_Low_Static , Cooling DB 76, Cooling WB 65, Heating DB 68, Volts 208-230 V, Phase 1Ph, HZ 60Hz, | 1 | 0% | 1 | EA |  |  |  | 0
513 |  | AC-MS,Total Cooling 36200 BTU/h,Model-ARNU363BGA4, Type-Duct_Low_Static , Cooling DB 76, Cooling WB 65, Heating DB 68, Volts 208-230 V, Phase 1Ph, HZ 60Hz, | 1 | 0% | 1 | EA |  |  |  | 0
514 |  | AC-R1,Total Cooling 54000 BTU/h, Model-ARNU543BRA4, Type-Duct_Low_Static , Cooling DB 76, Cooling WB 65, Heating DB 68, Volts 208-230 V, Phase 1Ph, HZ 60Hz, | 1 | 0% | 1 | EA |  |  |  | 0
515 |  | AC-R2,Total Cooling 54000 BTU/h, Model-ARNU543BRA4, Type-Duct_Low_Static , Cooling DB 76, Cooling WB 65, Heating DB 68, Volts 208-230 V, Phase 1Ph, HZ 60Hz, | 1 | 0% | 1 | EA |  |  |  | 0
516 |  | ERV-N,Total Cooling 115000 BTU/h, Model-PKLK09A0, Type-Duct_Low_Static , Cooling DB 76, Cooling WB 65, Heating DB 68, Volts 208-230 V, Phase 1Ph, HZ 60Hz, | 1 | 0% | 1 | EA |  |  |  | 0
517 |  | ERV-S,Total Cooling 115000 BTU/h, Model-PKLK09A0, Type-Duct_Low_Static , Cooling DB 76, Cooling WB 65, Heating DB 68, Volts 208-230 V, Phase 1Ph, HZ 60Hz, | 1 | 0% | 1 | EA |  |  |  | 0
VRF CONDENSING UNIT (HOTEL ROOM FLOORS)
518 |  | ACCU-2N,Total Cooling 120000 BTU/h, Model-ARNU121BTES, Type-Hr_Multi V IV , Cooling DB 92, Cooling WB 74, Heating DB 5, Volts 208-230 V, Phase 3Ph, HZ 60Hz, | 1 | 0% | 1 | EA |  |  |  | 0
519 |  | ACCU-2S,Total Cooling 168000 BTU/h, Model-ARNU168BTES, Type-Hr_Multi V IV , Cooling DB 92, Cooling WB 74, Heating DB 5, Volts 208-230 V, Phase 3Ph, HZ 60Hz, | 1 | 0% | 1 | EA |  |  |  | 0
520 |  | ACCU-3N,Total Cooling 120000 BTU/h, Model-ARNU121BTES, Type-Hr_Multi V IV , Cooling DB 92, Cooling WB 74, Heating DB 5, Volts 208-230 V, Phase 3Ph, HZ 60Hz, | 1 | 0% | 1 | EA |  |  |  | 0
521 |  | ACCU-3S,Total Cooling 168000 BTU/h, Model-ARNU168BTES, Type-Hr_Multi V IV , Cooling DB 92, Cooling WB 74, Heating DB 5, Volts 208-230 V, Phase 3Ph, HZ 60Hz, | 1 | 0% | 1 | EA |  |  |  | 0
522 |  | ACCU-4N,Total Cooling 120000 BTU/h, Model-ARNU121BTES, Type-Hr_Multi V IV , Cooling DB 92, Cooling WB 74, Heating DB 5, Volts 208-230 V, Phase 3Ph, HZ 60Hz, | 1 | 0% | 1 | EA |  |  |  | 0
523 |  | ACCU-4S,otal Cooling 168000 BTU/h, Model-ARNU168BTES, Type-Hr_Multi V IV , Cooling DB 92, Cooling WB 74, Heating DB 5, Volts 208-230 V, Phase 3Ph, HZ 60Hz, | 1 | 0% | 1 | EA |  |  |  | 0
524 |  | ACCU-5N,Total Cooling 120000 BTU/h, Model-ARNU121BTES, Type-Hr_Multi V IV , Cooling DB 92, Cooling WB 74, Heating DB 5, Volts 208-230 V, Phase 3Ph, HZ 60Hz, | 1 | 0% | 1 | EA |  |  |  | 0
525 |  | ACCU-5S,Total Cooling 120000 BTU/h,Model-ARNU168BTES, Type-Hr_Multi V IV , Cooling DB 92, Cooling WB 74, Heating DB 5, Volts 208-230 V, Phase 3Ph, HZ 60Hz, | 1 | 0% | 1 | EA |  |  |  | 0
526 |  | ACCU-6N,Total Cooling 120000 BTU/h, Model-ARNU121BTES, Type-Hr_Multi V IV , Cooling DB 92, Cooling WB 74, Heating DB 5, Volts 208-230 V, Phase 3Ph, HZ 60Hz, | 1 | 0% | 1 | EA |  |  |  | 0
527 |  | ACCU-6S,Total Cooling 168000 BTU/h, Model-ARNU168BTES, Type-Hr_Multi V IV , Cooling DB 92, Cooling WB 74, Heating DB 5, Volts 208-230 V, Phase 3Ph, HZ 60Hz, | 1 | 0% | 1 | EA |  |  |  | 0
528 |  | ACCU-7N,otal Cooling 120000 BTU/h, Model-ARNU121BTES, Type-Hr_Multi V IV , Cooling DB 92, Cooling WB 74, Heating DB 5, Volts 208-230 V, Phase 3Ph, HZ 60Hz, | 1 | 0% | 1 | EA |  |  |  | 0
529 |  | ACCU-8N,otal Cooling 144000 BTU/h, Model-ARNU144BTES, Type-Hr_Multi V IV , Cooling DB 92, Cooling WB 74, Heating DB 5, Volts 208-230 V, Phase 3Ph, HZ 60Hz, | 1 | 0% | 1 | EA |  |  |  | 0
530 |  | ACCU-8S,otal Cooling 192000 BTU/h, Model-ARNU192BTES, Type-Hr_Multi V IV , Cooling DB 92, Cooling WB 74, Heating DB 5, Volts 208-230 V, Phase 3Ph, HZ 60Hz, | 1 | 0% | 1 | EA |  |  |  | 0
531 |  | ACCU-ERV,otal Cooling 240000 BTU/h, Model-ARNU241BTES, Type_Multi V IV , Cooling DB 92, Cooling WB 74, Heating DB 5, Volts 208-230 V, Phase 3Ph, HZ 60Hz, | 1 | 0% | 1 | EA |  |  |  | 0
532 |  | ACCU-Ground,otal Cooling 168000 BTU/h, Model-ARNU168BTES, Type-Hr_Multi V IV , Cooling DB 92, Cooling WB 74, Heating DB 5, Volts 208-230 V, Phase 3Ph, HZ 60Hz, | 1 | 0% | 1 | EA |  |  |  | 0
533 |  | ACCU-MEZZN,otal Cooling 192000 BTU/h, Model-ARNU192DTE5, Type-Hr_Multi V IV , Cooling DB 92, Cooling WB 74, Heating DB 5, Volts 208-230 V, Phase 3Ph, HZ 60Hz, | 1 | 0% | 1 | EA |  |  |  | 0
534 |  | ACCU-MEZZS,otal Cooling 192000 BTU/h, Model-ARNU192BTES, Type-Hr_Multi V IV , Cooling DB 92, Cooling WB 74, Heating DB 5, Volts 208-230 V, Phase 3Ph, HZ 60Hz, | 1 | 0% | 1 | EA |  |  |  | 0
VRF HEAT RECOVERY BOX
535 |  | HRB-2N1,PRHR042A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
536 |  | HRB-2N2,PRHR042A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
537 |  | HRB-2N3,PRHR042A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
538 |  | HRB-2S1,PRHR032A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
539 |  | HRB-2S2,PRHR042A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
540 |  | HRB-2S3,PRHR042A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
541 |  | HRB-2S4,PRHR042A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
542 |  | HRB-3N1,PRHR042A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
543 |  | HRB-3N2,PRHR042A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
544 |  | HRB-3N3,PRHR042A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
545 |  | HRB-3S1,PRHR032A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
546 |  | HRB-3S2,PRHR042A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
547 |  | HRB-3S3,PRHR042A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
548 |  | HRB-3S4,PRHR042A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
549 |  | HRB-4N1,PRHR042A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
550 |  | HRB-4N2,PRHR042A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
551 |  | HRB-4N3,PRHR042A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
552 |  | HRB-4S1,PRHR032A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
553 |  | HRB-4S2,PRHR042A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
554 |  | HRB-4S3,PRHR042A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
555 |  | HRB-4S4,PRHR042A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
556 |  | HRB-5N1,PRHR042A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
557 |  | HRB-5N2,PRHR042A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
558 |  | HRB-5N3,PRHR042A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
559 |  | HRB-5S1,PRHR032A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
560 |  | HRB-5S2,PRHR042A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
561 |  | HRB-5S3,PRHR042A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
562 |  | HRB-5S4,PRHR042A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
563 |  | HRB-6N1,PRHR042A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
564 |  | HRB-6N2,PRHR042A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
565 |  | HRB-6N3,PRHR042A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
566 |  | HRB-6S1,PRHR032A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
567 |  | HRB-6S2,PRHR042A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
568 |  | HRB-6S3,PRHR042A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
569 |  | HRB-6S4,PRHR042A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
570 |  | HRB-7N1,PRHR042A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
571 |  | HRB-7N2,PRHR042A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
572 |  | HRB-7N3,PRHR042A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
573 |  | HRB-7S1,PRHR032A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
574 |  | HRB-7S2,PRHR042A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
575 |  | HRB-7S3,PRHR042A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
576 |  | HRB-7S4,PRHR042A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
577 |  | HRB-8N1,PRHR042A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
578 |  | HRB-8N2,PRHR042A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
579 |  | HRB-8N3,PRHR042A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
580 |  | HRB-8S1,PRHR032A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
581 |  | HRB-8S2,PRHR042A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
582 |  | HRB-8S3,PRHR042A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
583 |  | HRB-8S4,PRHR042A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
584 |  | HRB-G1,PRHR032A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
585 |  | HRB-G2,PRHR022A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
586 |  | HRB-MN1,PRHR042A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
587 |  | HRB-MS1,PRHR042A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
588 |  | HRB-MS2,PRHR022A, Volts 208/230, Phase 1, 60 Hz | 1 | 0% | 1 | EA |  |  |  | 0
SUPPLY AIR TERMINAL BOX
589 |  | SV-1, 100 CFM | 1 | 0% | 1 | EA |  |  |  | 0
590 |  | SV-2, 260 CFM | 1 | 0% | 1 | EA |  |  |  | 0
591 |  | SV-4, 500 CFM | 2 | 0% | 2 | EA |  |  |  | 0
592 |  | SV-5, 600 CFM | 2 | 0% | 2 | EA |  |  |  | 0
SPLIT AIR COOLED AIR CONDITIONING UNIT SCHEDULE
593 |  | AC-EMR-1A, 2 Ton, 635 CFM, 208 V, 60 Hz, Size- 11-3/8x41-3/8x9 | 1 | 0% | 1 | EA |  |  |  | 0
594 |  | AC-EMR-1A.CU, 2 Ton, 635 CFM, 208 V, 60 Hz, Size- 11-3/8x41-3/8x9 | 1 | 0% | 1 | EA |  |  |  | 0
595 |  | AC-EMR-1B, 2 Ton, 635 CFM, 208 V, 60 Hz, Size- 11-3/8x41-3/8x9 | 1 | 0% | 1 | EA |  |  |  | 0
596 |  | AC-EMR-1B.CU, 2 Ton, 635 CFM, 208 V, 60 Hz, Size- 11-3/8x41-3/8x9 | 1 | 0% | 1 | EA |  |  |  | 0
597 |  | AC-EMR-2.CU, 2 Ton, 635 CFM, 208 V, 60 Hz, Size- 11-3/8x41-3/8x9 | 1 | 0% | 1 | EA |  |  |  | 0
FUEL OIL STORAGE TANK SCHEDULE
598 |  | FOT-1: 650 Gallon, Model-Cardinal Dwnyc650jh-cyl | 1 | 0% | 1 | EA |  |  |  | 0
BASEBOARD HEATER
599 |  | BB-6: 6 KW, 208V, 60 HZ, 12"x8'x4", Weight 60 LB, Medel-AS12F860 | 6 | 0% | 6 | EA |  |  |  | 0
| DIV. 26 | ELECTRICAL | [8 empty] | 0
LIGHTING
600 |  | 1'X4' copper lighting: 4WSL, LED, Wavestream | 177 | 0% | 177 | EA |  |  |  | 0
601 |  | 1'X4' copper lighting: 4WSL, LED, Wavestream ( Emergency light, 90 Min. battery backup ) | 59 | 0% | 59 | EA |  |  |  | 0
602 |  | 2' X 2' copper lighting series: (2) T8/fixture | 41 | 0% | 41 | EA |  |  |  | 0
603 |  | 2' X 2' copper lighting series: (2) T8/fixture ( Battery backup ) | 17 | 0% | 17 | EA |  |  |  | 0
604 |  | 6" LED can lights | 850 | 0% | 850 | EA |  |  |  | 0
605 |  | 6" LED can lights, ( Battery backup ) | 102 | 0% | 102 | EA |  |  |  | 0
606 |  | Chrystal polished chrome chandlier | 19 | 0% | 19 | EA |  |  |  | 0
607 |  | Pendant lights | 7 | 0% | 7 | EA |  |  |  | 0
608 |  | Recessed parapet lights | 32 | 0% | 32 | EA |  |  |  | 0
609 |  | Shrub accent lights | 97 | 0% | 97 | EA |  |  |  | 0
POWER
610 |  | Duplex receptacle outlet | 603 | 0% | 603 | EA |  |  |  | 0
611 |  | Duplex receptacle outlet, ( GFCI ) | 134 | 0% | 134 | EA |  |  |  | 0
612 |  | Duplex receptacle outlet, ( Weather proof ) | 32 | 0% | 32 | EA |  |  |  | 0
613 |  | Fire pump | 1 | 0% | 1 | EA |  |  |  | 0
614 |  | Fire smoke damper | 38 | 0% | 38 | EA |  |  |  | 0
615 |  | Jockey pump | 1 | 0% | 1 | EA |  |  |  | 0
616 |  | Junction box, ( Ceiling mounted ) | 461 | 0% | 461 | EA |  |  |  | 0
617 |  | Single pole switch w/ transmitter | 59 | 0% | 59 | EA |  |  |  | 0
618 |  | Single pole switch w/ transmitter | 26 | 0% | 26 | EA |  |  |  | 0
619 |  | Single pole switch w/ transmitter | 336 | 0% | 336 | EA |  |  |  | 0
620 |  | Single pole switches | 182 | 0% | 182 | EA |  |  |  | 0
621 |  | Unfunsed disconnect switch, ( 100 Amp. ) | 2 | 0% | 2 | EA |  |  |  | 0
622 |  | Unfunsed disconnect switch, ( 30 Amp. ) | 13 | 0% | 13 | EA |  |  |  | 0
623 |  | Unfused disconnect switch ( 60 Amp. ) | 29 | 0% | 29 | EA |  |  |  | 0
624 |  | Vaporproof wall bracket | 3 | 0% | 3 | EA |  |  |  | 0
ELEC. PANELS
625 |  | Elec. panel ELP-8, ( 200 Amp. & 42 no. of poles ) | 1 | 0% | 1 | EA |  |  |  | 0
626 |  | Elec. panel ELP-M, ( 100 Amp. & 30 no. of poles ) | 1 | 0% | 1 | EA |  |  |  | 0
627 |  | Elec. panel EPP-STBY, ( 200 Amp. & 42 no. of poles ) | 2 | 0% | 2 | EA |  |  |  | 0
628 |  | Elec. panel LP-4, ( 100 Amp. & 30 no. of poles ) | 1 | 0% | 1 | EA |  |  |  | 0
629 |  | Elec. panel LP-7, ( 200 Amp. & 42 no. of poles ) | 1 | 0% | 1 | EA |  |  |  | 0
630 |  | Elec. panel LP-M, ( 200 Amp. & 42 no. of poles ) | 1 | 0% | 1 | EA |  |  |  | 0
631 |  | Elec. panel MCC-R, ( 1200 Amp. ) | 1 | 0% | 1 | EA |  |  |  | 0
632 |  | Elec. panel MP-2, ( 100 Amp. & 30 no. of poles ) | 1 | 0% | 1 | EA |  |  |  | 0
633 |  | Elec. panel MP-3, ( 200 Amp. & 42 no. of poles ) | 1 | 0% | 1 | EA |  |  |  | 0
634 |  | Elec. panel MP-6, ( 100 Amp. & 30 no. of poles ) | 1 | 0% | 1 | EA |  |  |  | 0
635 |  | Elec. panel MP-M, ( 200 Amp. & 42 no. of poles ) | 1 | 0% | 1 | EA |  |  |  | 0
636 |  | Elec. panel MP-R, ( 100 Amp. & 30 no. of poles ) | 1 | 0% | 1 | EA |  |  |  | 0
637 |  | Elec. panel PP-2A, ( 200 Amp. & 42 no. of poles ) | 1 | 0% | 1 | EA |  |  |  | 0
638 |  | Elec. panel PP-2B, ( 100 Amp. & 30 no. of poles ) | 1 | 0% | 1 | EA |  |  |  | 0
639 |  | Elec. panel PP-C, ( 200 Amp. & 42 no. of poles ) | 1 | 0% | 1 | EA |  |  |  | 0
640 |  | Elec. panel PP-K, ( 100 Amp. & 24 no. of poles ) | 1 | 0% | 1 | EA |  |  |  | 0
641 |  | Elec. panel PP-M, ( 100 Amp. & 30 no. of poles ) | 1 | 0% | 1 | EA |  |  |  | 0
642 |  | Elec. panel RP-BAR, ( 100 Amp. & 30 no. of poles ) | 1 | 0% | 1 | EA |  |  |  | 0
FIRE ALARM
643 |  | Carbon monoxide detectors | 10 | 0% | 10 | EA |  |  |  | 0
644 |  | Fire strobe horn | 22 | 0% | 22 | EA |  |  |  | 0
645 |  | Horn strobe w/ manual pull station | 139 | 0% | 139 | EA |  |  |  | 0
646 |  | Manual pull stations | 6 | 0% | 6 | EA |  |  |  | 0
647 |  | Smoke detector w/ thermal sensors | 21 | 0% | 21 | EA |  |  |  | 0
648 |  | Smoke detectors | 35 | 0% | 35 | EA |  |  |  | 0
649 |  | Toggle switches | 21 | 0% | 21 | EA |  |  |  | 0
650 |  | Water flow switches | 21 | 0% | 21 | EA |  |  |  | 0
| DIV. 31 | EARTHWORKS | [8 empty] | 0
EXCAVATION
651 |  | Excavation | 7774 | 10% | 8551.4 | CY |  |  |  | 0
SUB TOTAL | [9 empty] | 0 | 0
OVERHEAD & PROFIT (25%) | [8 empty] | 25% | 0 | 0
TOTAL BID | [9 empty] | 0 | 0
NOTE :
1. WE ALWAYS USE MARKET AND GENERAL PRICES, WE ENCOURAGE OUR CLIENTS TO PUT THEIR OWN PRICES AS OUR SHEET IS FORMULATED.
2. WHERE INFO IS MISSING, SOLID ASSUMPTIONS HAVE TAKEN.