## Detailed Estimate IE
PROJECT:
ADDRESS:
DATE
SR # | CSI SECT | DESCRIPTION | QUANTITY | WASTAGE (10%) | QTY WITH WASTAGE | UNIT OF MEASURMENT | UNIT COST | TOTAL ITEM COST | TOTAL TRADE COST
SITE PLAN
1 |  | 42" min. high Railing | 16 | 10% | 17.6 | LF | 0 | 0
2 |  | Concrete Driveway | 174 | 10% | 191.4 | SF | 0 | 0
3 |  | Proposed Retaining Wall | 12 | 10% | 13.2 | LF | 0 | 0
4 |  | Gas Meter | 1 | 0% | 1 | EA | 0 | 0
5 |  | Trash Containers | 3 | 0% | 3 | EA | 0 | 0
6 |  | Water Meter | 2 | 0% | 2 | EA | 0 | 0
7 |  | Wood Gates | 2 | 0% | 2 | EA | 0 | 0
EROSION CONTROL PLAN
8 |  | Protection of 8" High chain link fence | 312 | 10% | 343.2 | LF | 0 | 0
9 |  | Install drain inlet protection | 19 | 10% | 20.9 | EA | 0 | 0
GRADING AND DRAINAGE PLAN
10 |  | 4" SDR-35 PVC Pipe | 342 | 10% | 376.2 | LF | 0 | 0
11 |  | 6" VCP Sewer Lateral | 31 | 10% | 34.1 | LF | 0 | 0
12 |  | Construct 6" wide trench drain zurn- Z883-SVF | 17 | 10% | 18.7 | LF | 0 | 0
13 |  | Sawcuts | 42 | 10% | 46.2 | LF
14 |  | 12"X12" pre-cast concrete box | 2 | 0% | 2 | EA | 0 | 0
15 |  | Construct 6" square area Drain | 16 | 0% | 16 | EA | 0 | 0
16 |  | 3' Dia Copper Downspouts | 8 | 0% | 8 | EA | 0 | 0
IRRIGATION PLAN
17 |  | Schedule 40 PVC non- pressurized lateral line buried 12" min.deep | 267 | 10% | 293.7 | LF | 0 | 0
18 |  | 1" Schdeule 40 PVC pressurized main line buried line min.18" deep | 183 | 10% | 201.3 | LF | 0 | 0
19 |  | High water use Hydrozone | 98 | 10% | 107.8 | SF |  | 0
20 |  | Mixed water use Hydrozone | 1201 | 10% | 1321.1 | SF |  | 0
21 |  | Moderate water use Hydrozone | 149 | 10% | 163.9 | SF |  | 0
22 |  | Rain Bird 100- PEB 1' Master valve | 2 | 0% | 2 | EA | 0 | 0
23 |  | Rain Bird BV050FP Ball valve | 2 | 0% | 2 | EA | 0 | 0
24 |  | Rain Bird check Valve- RWS-BCG 02 tree root watering system with 1402 Bubbler | 15 | 0% | 15 | EA | 0 | 0
25 |  | Rain Bird high flow shut-off valve | 2 | 0% | 2 | EA | 0 | 0
26 |  | Rain Bird standard valve box- VB-STD | 4 | 0% | 4 | EA | 0 | 0
27 |  | Wilkins- 975XL pressure back flow preventer | 2 | 0% | 2 | EA | 0 | 0
TREES/ TREE LIKE SHRUBS
28 |  | bamboo palm- 8'-10" Height | 3 | 0% | 3 | EA | 0 | 0
29 |  | Little emperor japanese blueberry-6'-10' Height | 1 | 0% | 1 | EA | 0 | 0
30 |  | Sweet shade tree- 25'-40' Height | 3 | 0% | 3 | EA | 0 | 0
31 |  | Dwarf southern Magnolia- 20'-25' Height | 1 | 0% | 1 | EA | 0 | 0
32 |  | Fruiting Olive tree- 25'-30' Height | 1 | 0% | 1 | EA | 0 | 0
33 |  | Little ollie- 4'-6' Height | 3 | 0% | 3 | EA | 0 | 0
34 |  | Long leafed podocarpus - 25'-40' Height | 6 | 0% | 6 | EA | 0 | 0
35 |  | Icee blue yellow wood- 15'-25' Height | 5 | 0% | 5 | EA | 0 | 0
GRASS LIKE
36 |  | Berkley sedge- 1'-2" Height | 11 | 0% | 11 | EA | 0 | 0
37 |  | Clarity Blue Dianella- 2'-3' Height | 2 | 0% | 2 | EA | 0 | 0
38 |  | Blue Flax Lily- 1'-2' Height | 1 | 0% | 1 | EA | 0 | 0
39 |  | New zealand Flax- 6' Height | 3 | 0% | 3 | EA | 0 | 0
SUCCULENTS/ GROUND COVERS
40 |  | Blushing Aeonium - 2'-3' Height | 11 | 0% | 11 | EA | 0 | 0
41 |  | Pink jade plant- 3;-5' Height | 8 | 0% | 8 | EA | 0 | 0
42 |  | Vooden stone Crop- 1'-2' Height | 15 | 0% | 15 | EA | 0 | 0
SHRUBS/ PERRENIALS
43 |  | Red Flowering Maple- 8'-12' Height | 15 | 0% | 15 | EA | 0 | 0
44 |  | Pink Japanease Aenomone- 2'-3' Height | 8 | 0% | 8 | EA | 0 | 0
45 |  | Fucshia Begonia- 2'-3' Height | 6 | 0% | 6 | EA | 0 | 0
46 |  | Diamond Heights caramel Creeper- 1' Height | 13 | 0% | 13 | EA | 0 | 0
47 |  | pink rockrose- 2'-3' Height | 13 | 0% | 13 | EA | 0 | 0
48 |  | Island snap dragon- 3'-4' Height | 3 | 0% | 3 | EA | 0 | 0
49 |  | Cranesbill- 1'-2' Height | 12 | 0% | 12 | EA | 0 | 0
50 |  | purple diamond frindge flower- 3'-4 Height | 1 | 0% | 1 | EA | 0 | 0
51 |  | peppermint scented geranium - 1'-2' Height | 11 | 0% | 11 | EA | 0 | 0
52 |  | Pink carpet groundcover rose- 2'-3' Height | 11 | 0% | 11 | EA | 0 | 0
53 |  | Allen chickering Sage- 4'-5' Height | 4 | 0% | 4 | EA | 0 | 0
54 |  | star Jasmine- 2'-6' Height | 15 | 0% | 15 | EA | 0 | 0
55 |  | coast Rosemary- 3'-4' Height | 11 | 0% | 11 | EA | 0 | 0
SUB TOTAL | [8 empty] | 0
OVERHEAD & PROFIT (25%) | [6 empty] | 25% |  | 0
TOTAL BID | [8 empty] | 0