## General Summary
GENERAL SUMMARY
DIVISION NO. | DESCRIPTION | TOTAL DIV. COST
1000 | General Requirments | 88000
2000 | Extisting Condition | 109016.1347
3000 | Concrete | 5528.1021
6000 | Wood & Plastics | 24459.3204
7000 | Thermal & Moisture Protection | 97327.2919
8000 | Opening | 122539.1454
9000 | Finishes | 249600.9648
10000 | Specialties | 15229.141
12000 | Furnishing | 39056.7041
22000 | Plumbing | 86779.1119
23000 | HVAC | 190540.4868
26000 | Electrical | 150767.06
TOTAL TRADE COST |  | 1178843.4631
CONTINGENCY | 5% | 58942.1732
OVERHEAD (10%) | 10% | 117884.3463
TAX (7.25%) | 7.25% | 35919.7289
PERFORMANCE AND PAYMENT BONDS | 1.5% | 17682.6519
TOTAL BASEBID |  | 1409272.3634

## Takeoff Breakdown
DETAILED BREAKDOWN OF ITEMS
| Project Name |  | HOLLYGROVE CAMPUS AT PACIFIC CLINICS
| Project Address |  | 8I5 N. El Centro Avenue Los Angeles, CA 90038
| Scope: |  | Complete Material Takeoff/Estimation
S# | Dwg. | CSI NO | DESCRIPTION | QTY. | Wastage | Qty w/ Waste | UNIT | UNIT LABOR HOUR | TOTAL LABOR HOUR | LABOR WAGE/ HOUR | UNIT LABOR COST | TOTAL LABOR COST | UNIT MATERIAL COST | TOTAL MATERIAL COST | UNIT PRICE (Labor & Material) | TRADE TOTAL
|  | 1 | DIVISION 01-GENERAL REQUIREMENTS
1 |  |  | Permits | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 88000
2 |  |  | Supervision and Coordination | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 |  |  | Submittals and Shop drawings | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 |  |  | Final Cleaning | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 |  |  | Mobilization Costs | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 |  |  | Temporary Control & Facilities | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 |  |  | Scaffolding | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NOTE: We Have Took The 9% Of Base Bid Amount For General Requirments.
|  |  | SUBTOTAL | [12 empty] | 88000
|  | 2 | DIVISION 02- EXISTING CONDITIONS
| A1.0, A1.1 & A1.2 |  | DEMOLITION
8 |  |  | Remove Existing Deck Structure | 357.78 | 0% | 357.78 | SF | 0.042 | 15.0268 | 83.49 | 3.5066 | 1254.5842 | 0 | 0 | 3.5066 | 1254.5842
9 |  |  | Remove Existing Paving | 363.45 | 0% | 363.45 | SF | 0.045 | 16.3553 | 70 | 3.15 | 1144.8675 | 0 | 0 | 3.15 | 1144.8675
10 |  |  | Remove Existing Concrete Ramp | 95.78 | 0% | 95.78 | SF | 0.032 | 3.065 | 70 | 2.24 | 214.5472 | 0 | 0 | 2.24 | 214.5472
11 |  |  | Remove Existing 4" Thick Interior Wall | 2365.38 | 0% | 2365.38 | SF | 0.02 | 47.3076 | 83.49 | 1.6698 | 3949.7115 | 0 | 0 | 1.6698 | 3949.7115
12 |  |  | Remove Existing 6" Thick Interior Wall | 637.65 | 0% | 637.65 | SF | 0.026 | 16.5789 | 83.49 | 2.1707 | 1384.1724 | 0 | 0 | 2.1707 | 1384.1724
13 |  |  | Remove Existing Wall Finishes | 1720 | 0% | 1720 | SF | 0.018 | 30.96 | 83.49 | 1.5028 | 2584.8504 | 0 | 0 | 1.5028 | 2584.8504
14 |  |  | Remove Existing Sheet Vinyl Tile Flooring | 3853.43 | 0% | 3853.43 | SF | 0.025 | 96.3358 | 77.95 | 1.9487 | 7509.3717 | 0 | 0 | 1.9487 | 7509.3717
15 |  |  | Remove Existing Wainscoting | 2562.2 | 0% | 2562.2 | SF | 0.03 | 76.866 | 77.95 | 2.3385 | 5991.7047 | 0 | 0 | 2.3385 | 5991.7047
16 |  |  | Remove Existing Full Height Wall Tile | 592.64 | 0% | 592.64 | SF | 0.04 | 23.7056 | 77.95 | 3.118 | 1847.8515 | 0 | 0 | 3.118 | 1847.8515
17 |  |  | Remove Existing Wall Tile Wainscoting | 932.2 | 0% | 932.2 | SF | 0.03 | 27.966 | 77.95 | 2.3385 | 2179.9497 | 0 | 0 | 2.3385 | 2179.9497
18 |  |  | Remove Existing Tile Flooring | 699.13 | 0% | 699.13 | SF | 0.04 | 27.9652 | 77.95 | 3.118 | 2179.8873 | 0 | 0 | 3.118 | 2179.8873
19 |  |  | Remove Existing Gypsum Board Ceiling W/ Molding | 5131.54 | 0% | 5131.54 | SF | 0.028 | 143.6831 | 83.49 | 2.3377 | 11996.1037 | 0 | 0 | 2.3377 | 11996.1037
20 |  |  | Remove Existing Chain Link Fence | 25.11 | 0% | 25.11 | LF | 0.1 | 2.511 | 75 | 7.5 | 188.325 | 0 | 0 | 7.5 | 188.325
21 |  |  | Remove Existing Wood Trim | 640.55 | 0% | 640.55 | LF | 0.016 | 10.2488 | 83.49 | 1.3358 | 855.6723 | 0 | 0 | 1.3358 | 855.6723
22 |  |  | Remove Existing (1'-0"Deep) Upper Cabinets | 23.1 | 0% | 23.1 | LF | 0.3 | 6.93 | 83.49 | 25.047 | 578.5857 | 0 | 0 | 25.047 | 578.5857
23 |  |  | Remove Existing (1'-0"Deep) Storage Shelving | 16.93 | 0% | 16.93 | LF | 0.24 | 4.0632 | 83.49 | 20.0376 | 339.2366 | 0 | 0 | 20.0376 | 339.2366
24 |  |  | Remove Existing (2'-0"Deep) Base Cabinets | 13.31 | 0% | 13.31 | LF | 0.4 | 5.324 | 83.49 | 33.396 | 444.5008 | 0 | 0 | 33.396 | 444.5008
25 |  |  | Remove Existing (1'-4"Deep) Storage Shelving | 26.32 | 0% | 26.32 | LF | 0.26 | 6.8432 | 83.49 | 21.7074 | 571.3388 | 0 | 0 | 21.7074 | 571.3388
26 |  |  | Remove Existing (2'-0"Deep) Storage Shelving | 24.73 | 0% | 24.73 | LF | 0.4 | 9.892 | 83.49 | 33.396 | 825.8831 | 0 | 0 | 33.396 | 825.8831
27 |  |  | Remove Existing Wall Base | 571.81 | 0% | 571.81 | LF | 0.026 | 14.8671 | 77.95 | 2.0267 | 1158.8873 | 0 | 0 | 2.0267 | 1158.8873
28 |  |  | Remove Existing Handrail | 35.4 | 0% | 35.4 | LF | 0.2 | 7.08 | 75 | 15 | 531 | 0 | 0 | 15 | 531
29 |  |  | Remove Existing Wall Scone | 4 | 0% | 4 | EA | 1 | 4 | 92 | 92 | 368 | 0 | 0 | 92 | 368
30 |  |  | Remove Existing Electrical Outlet | 29 | 0% | 29 | EA | 0.6 | 17.4 | 92 | 55.2 | 1600.8 | 0 | 0 | 55.2 | 1600.8
31 |  |  | Remove Existing Data | 13 | 0% | 13 | EA | 0.5 | 6.5 | 92 | 46 | 598 | 0 | 0 | 46 | 598
32 |  |  | Remove Existing Thermostat | 2 | 0% | 2 | EA | 1 | 2 | 92 | 92 | 184 | 0 | 0 | 92 | 184
33 |  |  | Remove Existing Switches | 9 | 0% | 9 | EA | 0.65 | 5.85 | 92 | 59.8 | 538.2 | 0 | 0 | 59.8 | 538.2
34 |  |  | Remove Existing Electrical Panel | 1 | 0% | 1 | EA | 5.5 | 5.5 | 92 | 506 | 506 | 0 | 0 | 506 | 506
35 |  |  | Remove Existing HVAC Window Unit | 6 | 0% | 6 | EA | 3.24 | 19.44 | 96.91 | 313.9884 | 1883.9304 | 0 | 0 | 313.9884 | 1883.9304
36 |  |  | Remove Existing (24" X 24") Mechanical Equipment | 2 | 0% | 2 | EA | 1.42 | 2.84 | 96.91 | 137.6122 | 275.2244 | 0 | 0 | 137.6122 | 275.2244
37 |  |  | Remove Existing Vanity | 10 | 0% | 10 | EA | 1.66 | 16.6 | 96.91 | 160.8706 | 1608.706 | 0 | 0 | 160.8706 | 1608.706
38 |  |  | Remove Existing Sink | 1 | 0% | 1 | EA | 2.85 | 2.85 | 96.91 | 276.1935 | 276.1935 | 0 | 0 | 276.1935 | 276.1935
39 |  |  | Remove Existing Water Closet | 8 | 0% | 8 | EA | 3.5 | 28 | 96.91 | 339.185 | 2713.48 | 0 | 0 | 339.185 | 2713.48
40 |  |  | Remove Existing (2'-0" X 2'-6") Shower Pan W/ Enclosure | 4 | 0% | 4 | EA | 5.86 | 23.44 | 96.91 | 567.8926 | 2271.5704 | 0 | 0 | 567.8926 | 2271.5704
41 |  |  | Remove Existing (4'-8" X 2'-2") Bath Tub | 2 | 0% | 2 | EA | 4.5 | 9 | 96.91 | 436.095 | 872.19 | 0 | 0 | 436.095 | 872.19
42 |  |  | Remove Existing (5'-0" X 2'-4") Bath Tub | 2 | 0% | 2 | EA | 5.1 | 10.2 | 96.91 | 494.241 | 988.482 | 0 | 0 | 494.241 | 988.482
43 |  |  | Remove Existing Water Heater | 2 | 0% | 2 | EA | 2.88 | 5.76 | 96.91 | 279.1008 | 558.2016 | 0 | 0 | 279.1008 | 558.2016
44 |  |  | Remove Existing Single Leaf Door W/ Frame | 31 | 0% | 31 | EA | 2.1 | 65.1 | 83.49 | 175.329 | 5435.199 | 0 | 0 | 175.329 | 5435.199
45 |  |  | Remove Existing Double Leaf Door W/ Frame | 7 | 0% | 7 | EA | 4.2 | 29.4 | 83.49 | 350.658 | 2454.606 | 0 | 0 | 350.658 | 2454.606
46 |  |  | Remove Existing Window | 62 | 0% | 62 | EA | 2.2 | 136.4 | 83.49 | 183.678 | 11388.036 | 0 | 0 | 183.678 | 11388.036
47 |  |  | Remove Exising Toilet Paper Roll | 8 | 0% | 8 | EA | 0.4 | 3.2 | 96.91 | 38.764 | 310.112 | 0 | 0 | 38.764 | 310.112
48 |  |  | Remove Existing Window Treatment | 33 | 0% | 33 | EA | 1.68 | 55.44 | 96.91 | 162.8088 | 5372.6904 | 0 | 0 | 162.8088 | 5372.6904
49 |  |  | Remove & Relocate Existing Patch Panels | 3 | 0% | 3 | EA | 0.8 | 2.4 | 92 | 73.6 | 220.8 | 0 | 0 | 73.6 | 220.8
50 |  |  | Remove Existing Motion Detector | 2 | 0% | 2 | EA | 0.7 | 1.4 | 92 | 64.4 | 128.8 | 0 | 0 | 64.4 | 128.8
51 |  |  | Remove Existing Ceiling Fan | 1 | 0% | 1 | EA | 1.6 | 1.6 | 92 | 147.2 | 147.2 | 0 | 0 | 147.2 | 147.2
52 |  |  | Remove Existing Security Cameras | 3 | 0% | 3 | EA | 1 | 3 | 92 | 92 | 276 | 0 | 0 | 92 | 276
53 |  |  | Remove Existing Exhaust Fan | 2 | 0% | 2 | EA | 0.88 | 1.76 | 96.91 | 85.2808 | 170.5616 | 0 | 0 | 85.2808 | 170.5616
54 |  |  | Remove Existing (4'-0" X 10") Ceiling Light Fixture | 56 | 0% | 56 | EA | 1.05 | 58.8 | 92 | 96.6 | 5409.6 | 0 | 0 | 96.6 | 5409.6
55 |  |  | Remove Existing Light Fixture | 7 | 0% | 7 | EA | 1 | 7 | 92 | 92 | 644 | 0 | 0 | 92 | 644
56 |  |  | Remove Existing Conduits J-Box | 2 | 0% | 2 | EA | 0.6 | 1.2 | 92 | 55.2 | 110.4 | 0 | 0 | 55.2 | 110.4
57 |  |  | Remove Existing (2'-0" X 2'-0") Attic Access Panel | 1 | 0% | 1 | EA | 0.76 | 0.76 | 92 | 69.92 | 69.92 | 0 | 0 | 69.92 | 69.92
58 |  |  | Remove Existing Smoke Detector | 17 | 0% | 17 | EA | 0.78 | 13.26 | 92 | 71.76 | 1219.92 | 0 | 0 | 71.76 | 1219.92
59 |  |  | Remove Existing Fire Alarm System | 5 | 0% | 5 | EA | 0.6 | 3 | 92 | 55.2 | 276 | 0 | 0 | 55.2 | 276
60 |  |  | Remove Existing Fire Alarm | 2 | 0% | 2 | EA | 0.65 | 1.3 | 92 | 59.8 | 119.6 | 0 | 0 | 59.8 | 119.6
61 |  |  | Remove Existing Fire Strobe | 5 | 0% | 5 | EA | 0.65 | 3.25 | 92 | 59.8 | 299 | 0 | 0 | 59.8 | 299
62 |  |  | Remove Existing (12" X 12") Supply & Return HVAC Ceiling Register | 16 | 0% | 16 | EA | 1 | 16 | 96.91 | 96.91 | 1550.56 | 0 | 0 | 96.91 | 1550.56
REPLACEMENT
63 |  |  | Remove & Replace Existing Light Fixture | 9 | 0% | 9 | EA | 2.04 | 18.36 | 92 | 187.68 | 1689.12 | 0 | 0 | 187.68 | 1689.12
HAULING
64 |  |  | Hauling of Demolition Material | 1 | 0% | 1 | LS | 0 | 0 | 60 | 0 | 0 | 8750 | 8750 | 8750 | 8750
|  |  | SUBTOTAL | [12 empty] | 109016.1347
|  | 3 | DIVISION 03- CONCRETE
| A2.0 |  | REINFORCED CONCRETE
THICKENED SLAB EDGE:
65 |  |  | (12" X 8") Thickened Slab Edge (59 LF) | 1.4641 | 10% | 1.6105 | CY | 2.21 | 3.5592 | 70 | 154.7 | 249.1415 | 178.5 | 287.4709 | 333.2 | 536.6124
CONCRETE CURB:
66 |  |  | (6" X 6") Concrete Curb (38 LF) | 0.35185 | 10% | 0.38704 | CY | 2.42 | 0.93663 | 70 | 169.4 | 65.5641 | 178.5 | 69.0861 | 347.9 | 134.6502
SLAB
67 |  |  | 4" Thick Reinforced Concrete Ramp | 1.6033 | 10% | 1.7637 | CY | 2.6 | 4.5855 | 70 | 182 | 320.9873 | 235 | 414.4617 | 417 | 735.449
68 |  |  | 4" Thick Reinforced Concrete Slab | 8.5347 | 10% | 9.3881 | CY | 2.6 | 24.4091 | 70 | 182 | 1708.6403 | 135 | 1267.398 | 317 | 2976.0383
69 |  |  | 4" Thick Gravel Base | 8.5347 | 10% | 9.3881 | CY | 0.8 | 7.5105 | 70 | 56 | 525.7355 | 66 | 619.6168 | 122 | 1145.3523
|  |  | SUBTOTAL | [12 empty] | 5528.1021
|  | 6 | DIVISION 06- WOOD, PLASTIC & COMPOSITES
| A2.1 |  | FINISHED CARPENTRY
70 |  |  | (2'-0"Deep) Base Cabinets PL-2 Plastic Laminate Mfr: WILSONART Color: GRANVILLE CHERRY Finish: SILKEN WOOD | 34.36 | 5% | 36.078 | LF | 0.68 | 24.533 | 83.49 | 56.7732 | 2048.2635 | 160 | 5772.48 | 216.7732 | 7820.7435
71 |  |  | (2'-0"Deep) Base Cabinets PL-1 Plastic Laminate Mfr: WILSONART Color: FEATHER VELVET Finish: ULTRA MATTE | 31.24 | 5% | 32.802 | LF | 0.68 | 22.3054 | 83.49 | 56.7732 | 1862.2745 | 172 | 5641.944 | 228.7732 | 7504.2185
72 |  |  | (1'-0"Deep) Upper Wall Cabinets PL-2 Plastic Laminate Mfr: WILSONART Color: GRANVILLE CHERRY Finish: SILKEN WOOD | 18.51 | 5% | 19.4355 | LF | 0.48 | 9.329 | 83.49 | 40.0752 | 778.8815 | 110 | 2137.905 | 150.0752 | 2916.7865
73 |  |  | (1'-0"Deep) Upper Wall Cabinets PL-1 Plastic Laminate Mfr: WILSONART Color: FEATHER VELVET Finish: ULTRA MATTE | 37.46 | 5% | 39.333 | LF | 0.48 | 18.8798 | 83.49 | 40.0752 | 1576.2778 | 118 | 4641.294 | 158.0752 | 6217.5718
|  |  | SUBTOTAL | [12 empty] | 24459.3204
|  | 7 | DIVISION 07-THERMAL & MOISTURE PROTECTION
| A2.2 & A3.1 |  | ROOFING & ACCESSORIES
ROOFING:
74 |  |  | Asphalt Roofing | 8494 | 10% | 9343.4 | SF | 0.02 | 186.868 | 74.5 | 1.49 | 13921.666 | 1.13 | 10558.042 | 2.62 | 24479.708
75 |  |  | Fiberglass Insulation | 8494 | 10% | 9343.4 | SF | 0.01 | 93.434 | 74.5 | 0.745 | 6960.833 | 1.5 | 14015.1 | 2.245 | 20975.933
76 |  |  | Cover Board | 8494 | 10% | 9343.4 | SF | 0.018 | 168.1812 | 74.5 | 1.341 | 12529.4994 | 1.25 | 11679.25 | 2.591 | 24208.7494
77 |  |  | Tapered Insulation | 8494 | 10% | 9343.4 | SF | 0.015 | 140.151 | 74.5 | 1.1175 | 10441.2495 | 1.78 | 16631.252 | 2.8975 | 27072.5015
ROOF ACCESSORIES:
78 |  |  | New Intake Vent | 8 | 0% | 8 | EA | 0.4 | 3.2 | 74.5 | 29.8 | 238.4 | 44 | 352 | 73.8 | 590.4
|  |  | SUBTOTAL | [12 empty] | 97327.2919
|  | 8 | DIVISION 08- OPENINGS
| A2.1 & A9.1 |  | DOORS
79 |  |  | (3'-0"W X 7'-0"H ) Single Leaf Wooden Door W/ Hollow Metal Frame | 33 | 0% | 33 | EA | 3.78 | 124.74 | 83.49 | 315.5922 | 10414.5426 | 798 | 26334 | 1113.5922 | 36748.5426
80 |  |  | (3'-0"W X 7'-0"H ) Single Leaf Wooden Door W/ Hollow Metal Frame & (24" X 24") Tempered Glass | 3 | 0% | 3 | EA | 4.62 | 13.86 | 83.49 | 385.7238 | 1157.1714 | 966 | 2898 | 1351.7238 | 4055.1714
81 |  |  | (3'-0"W X 7'-0"H ) Single Leaf Wooden Tempered Glass Door W/ Hollow Metal Frame | 1 | 0% | 1 | EA | 4.2 | 4.2 | 83.49 | 350.658 | 350.658 | 882 | 882 | 1232.658 | 1232.658
Door Hardwares
82 |  |  | Allowance For Door Hardwares | 37 | 0% | 37 | EA | 2.1 | 77.7 | 83.49 | 175.329 | 6487.173 | 355 | 13135 | 530.329 | 19622.173
WINDOWS
83 |  |  | A: (3'-0" X 7'-0") Fixed Window | 24 | 0% | 24 | EA | 4.2 | 100.8 | 83.49 | 350.658 | 8415.792 | 1050 | 25200 | 1400.658 | 33615.792
84 |  |  | A2: (3'-0" X 7'-0") Fixed & Operatable Window | 4 | 0% | 4 | EA | 4.62 | 18.48 | 83.49 | 385.7238 | 1542.8952 | 1155 | 4620 | 1540.7238 | 6162.8952
85 |  |  | B: (3'-0" X 4'-6") Fixed Window | 10 | 0% | 10 | EA | 2.7 | 27 | 83.49 | 225.423 | 2254.23 | 675 | 6750 | 900.423 | 9004.23
86 |  |  | B2: (3'-0" X 4'-6") Fixed Window | 1 | 0% | 1 | EA | 2.7 | 2.7 | 83.49 | 225.423 | 225.423 | 675 | 675 | 900.423 | 900.423
87 |  |  | B3: (3'-0" X 4'-6") Fixed Window | 1 | 0% | 1 | EA | 2.7 | 2.7 | 83.49 | 225.423 | 225.423 | 675 | 675 | 900.423 | 900.423
88 |  |  | C: (3'-0" X 2'-4") Fixed Window | 11 | 0% | 11 | EA | 1.404 | 15.444 | 83.49 | 117.22 | 1289.4196 | 351 | 3861 | 468.22 | 5150.4196
89 |  |  | C2: (3'-0" X 2'-4") Fixed Window | 7 | 0% | 7 | EA | 1.404 | 9.828 | 83.49 | 117.22 | 820.5397 | 351 | 2457 | 468.22 | 3277.5397
90 |  |  | D: (3'-0" X 4'-8") Fixed Window | 2 | 0% | 2 | EA | 2.802 | 5.604 | 83.49 | 233.939 | 467.878 | 700.5 | 1401 | 934.439 | 1868.878
|  |  | SUBTOTAL | [12 empty] | 122539.1454
|  | 9 | DIVISION 09- FINISHES
| A2.1, A2.2, A3.1, A6.1 & A7.1 |  | WALLS
INTERIOR WALLS
|  |  | 1: 4" Interior Metal Stud Wall (10'-0"High) | 310 |  |  | LF
91 |  |  | 5/8" Type-X Gypsum Board On Both Sides | 2120 | 10% | 2332 | SF | 0.018 | 41.976 | 83.49 | 1.5028 | 3504.5762 | 0.56 | 1305.92 | 2.0628 | 4810.4962
92 |  |  | 4x8 No of Sheets | 67 | 0% | 67 | EA
93 |  |  | Drywall Screws | 2820 | 0% | 2820 | EA | 0.002 | 5.64 | 83.49 | 0.16698 | 470.8836 | 0.06 | 169.2 | 0.22698 | 640.0836
94 |  |  | Tape Joints | 1072 | 5% | 1125.6 | LF | 0.011 | 12.3816 | 83.49 | 0.91839 | 1033.7398 | 0.03 | 33.768 | 0.94839 | 1067.5078
95 |  |  | Mudding | 178.08 | 5% | 186.984 | LBs | 0.11 | 20.5682 | 83.49 | 9.1839 | 1717.2424 | 0.5 | 93.492 | 9.6839 | 1810.7344
96 |  |  | 5/8" Quietrock EZ On Both Sides | 4080 | 10% | 4488 | SF | 0.022 | 98.736 | 83.49 | 1.8368 | 8243.4686 | 2.385 | 10703.88 | 4.2218 | 18947.3486
97 |  |  | 4x8 No of Sheets | 128 | 0% | 128 | EA
98 |  |  | Drywall Screws | 5427 | 0% | 5427 | EA | 0.002 | 10.854 | 83.49 | 0.16698 | 906.2005 | 0.06 | 325.62 | 0.22698 | 1231.8205
99 |  |  | Tape Joints | 2048 | 5% | 2150.4 | LF | 0.011 | 23.6544 | 83.49 | 0.91839 | 1974.9059 | 0.03 | 64.512 | 0.94839 | 2039.4179
100 |  |  | Mudding | 342.72 | 5% | 359.856 | LBs | 0.11 | 39.5842 | 83.49 | 9.1839 | 3304.8815 | 0.5 | 179.928 | 9.6839 | 3484.8095
101 |  |  | Sound Acoustic Insulation | 3100 | 10% | 3410 | SF | 0.01 | 34.1 | 83.49 | 0.8349 | 2847.009 | 0.8 | 2728 | 1.6349 | 5575.009
102 |  |  | 4" Metal Studs @ 16" O.C. | 2330.8271 | 5% | 2447.3684 | LF | 0.03 | 73.4211 | 83.49 | 2.5047 | 6129.9237 | 1.68 | 4111.5789 | 4.1847 | 10241.5026
103 |  |  | 4" Metal Top & Bottom Plate | 620 | 5% | 651 | LF | 0.03 | 19.53 | 83.49 | 2.5047 | 1630.5597 | 1.68 | 1093.68 | 4.1847 | 2724.2397
104 |  |  | Sealent | 1240 | 5% | 1302 | LF | 0.01 | 13.02 | 83.49 | 0.8349 | 1087.0398 | 0.5 | 651 | 1.3349 | 1738.0398
|  |  | 1: 6" Interior Metal Stud Wall (10'-0"High) | 10 |  |  | LF
105 |  |  | 5/8" Quietrock EZ On Both Sides | 200 | 10% | 220 | SF | 0.022 | 4.84 | 83.49 | 1.8368 | 404.0916 | 2.385 | 524.7 | 4.2218 | 928.7916
106 |  |  | 4x8 No of Sheets | 7 | 0% | 7 | EA
107 |  |  | Drywall Screws | 266 | 0% | 266 | EA | 0.002 | 0.532 | 83.49 | 0.16698 | 44.4167 | 0.06 | 15.96 | 0.22698 | 60.3767
108 |  |  | Tape Joints | 112 | 5% | 117.6 | LF | 0.011 | 1.2936 | 83.49 | 0.91839 | 108.0027 | 0.03 | 3.528 | 0.94839 | 111.5307
109 |  |  | Mudding | 16.8 | 5% | 17.64 | LBs | 0.11 | 1.9404 | 83.49 | 9.1839 | 162.004 | 0.5 | 8.82 | 9.6839 | 170.824
110 |  |  | Sound Acoustic Insulation | 100 | 10% | 110 | SF | 0.01 | 1.1 | 83.49 | 0.8349 | 91.839 | 0.8 | 88 | 1.6349 | 179.839
111 |  |  | 6" Metal Studs @ 16" O.C. | 75.188 | 5% | 78.9474 | LF | 0.04 | 3.1579 | 83.49 | 3.3396 | 263.6526 | 2.05 | 161.8421 | 5.3896 | 425.4947
112 |  |  | 6" Metal Top & Bottom Plate | 20 | 5% | 21 | LF | 0.04 | 0.84 | 83.49 | 3.3396 | 70.1316 | 2.05 | 43.05 | 5.3896 | 113.1816
113 |  |  | Sealent | 40 | 5% | 42 | LF | 0.01 | 0.42 | 83.49 | 0.8349 | 35.0658 | 0.5 | 21 | 1.3349 | 56.0658
|  |  | 1A: 4" Interior Metal Stud Wall (10'-0"High) | 39.03 |  |  | LF
114 |  |  | 5/8" Type-X Gypsum Board On Both Sides | 552.2 | 10% | 607.42 | SF | 0.018 | 10.9336 | 83.49 | 1.5028 | 912.8429 | 0.56 | 340.1552 | 2.0628 | 1252.9981
115 |  |  | 4x8 No of Sheets | 18 | 0% | 18 | EA
116 |  |  | Drywall Screws | 735 | 0% | 735 | EA | 0.002 | 1.47 | 83.49 | 0.16698 | 122.7303 | 0.06 | 44.1 | 0.22698 | 166.8303
117 |  |  | Tape Joints | 288 | 5% | 302.4 | LF | 0.011 | 3.3264 | 83.49 | 0.91839 | 277.7211 | 0.03 | 9.072 | 0.94839 | 286.7931
118 |  |  | Mudding | 46.3848 | 5% | 48.704 | LBs | 0.11 | 5.3574 | 83.49 | 9.1839 | 447.293 | 0.5 | 24.352 | 9.6839 | 471.6451
119 |  |  | 5/8" Quietrock EZ On Both Sides | 228.4 | 10% | 251.24 | SF | 0.022 | 5.5273 | 83.49 | 1.8368 | 461.4726 | 2.385 | 599.2074 | 4.2218 | 1060.68
120 |  |  | 4x8 No of Sheets | 8 | 0% | 8 | EA
121 |  |  | Drywall Screws | 304 | 0% | 304 | EA | 0.002 | 0.608 | 83.49 | 0.16698 | 50.7619 | 0.06 | 18.24 | 0.22698 | 69.0019
122 |  |  | Tape Joints | 128 | 5% | 134.4 | LF | 0.011 | 1.4784 | 83.49 | 0.91839 | 123.4316 | 0.03 | 4.032 | 0.94839 | 127.4636
123 |  |  | Mudding | 19.1856 | 5% | 20.1449 | LBs | 0.11 | 2.2159 | 83.49 | 9.1839 | 185.0086 | 0.5 | 10.0724 | 9.6839 | 195.081
124 |  |  | Sound Acoustic Insulation | 115 | 10% | 126.5 | SF | 0.01 | 1.265 | 83.49 | 0.8349 | 105.6149 | 0.8 | 101.2 | 1.6349 | 206.8149
125 |  |  | 4" Metal Studs @ 16" O.C. | 293.985 | 5% | 308.6842 | LF | 0.03 | 9.2605 | 83.49 | 2.5047 | 773.1613 | 1.68 | 518.5895 | 4.1847 | 1291.7508
126 |  |  | 4" Metal Top & Bottom Plate | 78.06 | 5% | 81.963 | LF | 0.03 | 2.4589 | 83.49 | 2.5047 | 205.2927 | 1.68 | 137.6978 | 4.1847 | 342.9906
127 |  |  | Sealent | 156.12 | 5% | 163.926 | LF | 0.01 | 1.6393 | 83.49 | 0.8349 | 136.8618 | 0.5 | 81.963 | 1.3349 | 218.8248
|  |  | 1: 6" Interior Metal Stud Wall (10'-0"High) | 16.25 |  |  | LF
128 |  |  | 5/8" Quietrock EZ On Both Sides | 325 | 10% | 357.5 | SF | 0.018 | 6.435 | 83.49 | 1.5028 | 537.2582 | 0.56 | 200.2 | 2.0628 | 737.4582
129 |  |  | 4x8 No of Sheets | 11 | 0% | 11 | EA
130 |  |  | Drywall Screws | 433 | 0% | 433 | EA | 0.002 | 0.866 | 83.49 | 0.16698 | 72.3023 | 0.06 | 25.98 | 0.22698 | 98.2823
131 |  |  | Tape Joints | 176 | 5% | 184.8 | LF | 0.011 | 2.0328 | 83.49 | 0.91839 | 169.7185 | 0.03 | 5.544 | 0.94839 | 175.2625
132 |  |  | Mudding | 27.3 | 5% | 28.665 | LBs | 0.11 | 3.1532 | 83.49 | 9.1839 | 263.2565 | 0.5 | 14.3325 | 9.6839 | 277.589
133 |  |  | Sound Acoustic Insulation | 163 | 10% | 179.3 | SF | 0.01 | 1.793 | 83.49 | 0.8349 | 149.6976 | 0.8 | 143.44 | 1.6349 | 293.1376
134 |  |  | 6" Metal Studs @ 16" O.C. | 122.5564 | 5% | 128.6842 | LF | 0.04 | 5.1474 | 83.49 | 3.3396 | 429.7538 | 2.05 | 263.8026 | 5.3896 | 693.5564
135 |  |  | 6" Metal Top & Bottom Plate | 32.5 | 5% | 34.125 | LF | 0.04 | 1.365 | 83.49 | 3.3396 | 113.9638 | 2.05 | 69.9562 | 5.3896 | 183.9201
136 |  |  | Sealent | 65 | 5% | 68.25 | LF | 0.01 | 0.6825 | 83.49 | 0.8349 | 56.9819 | 0.5 | 34.125 | 1.3349 | 91.1069
|  |  | 2: 2" X 4" Interior Wood Stud Wall (10'-0"High) | 71.65 |  |  | LF
137 |  |  | 5/8" Type-X Gypsum Board On Both Sides | 1433 | 10% | 1576.3 | SF | 0.018 | 28.3734 | 83.49 | 1.5028 | 2368.8952 | 0.56 | 882.728 | 2.0628 | 3251.6232
138 |  |  | 4x8 No of Sheets | 45 | 0% | 45 | EA
139 |  |  | Drywall Screws | 1906 | 0% | 1906 | EA | 0.002 | 3.812 | 83.49 | 0.16698 | 318.2639 | 0.06 | 114.36 | 0.22698 | 432.6239
140 |  |  | Tape Joints | 720 | 5% | 756 | LF | 0.011 | 8.316 | 83.49 | 0.91839 | 694.3028 | 0.03 | 22.68 | 0.94839 | 716.9828
141 |  |  | Mudding | 120.372 | 5% | 126.3906 | LBs | 0.11 | 13.903 | 83.49 | 9.1839 | 1160.7586 | 0.5 | 63.1953 | 9.6839 | 1223.9539
142 |  |  | Sound Acoustic Insulation | 225 | 10% | 247.5 | SF | 0.01 | 2.475 | 83.49 | 0.8349 | 206.6378 | 0.8 | 198 | 1.6349 | 404.6377
143 |  |  | 2" X 4" Wood Studs @ 16" O.C. | 539.0977 | 5% | 566.0526 | LF | 0.016 | 9.0568 | 83.49 | 1.3358 | 756.1557 | 1.1 | 622.6579 | 2.4358 | 1378.8136
144 |  |  | 2" X 4" Wood Top & Bottom Plate | 143.3 | 5% | 150.465 | LF | 0.016 | 2.4074 | 83.49 | 1.3358 | 200.9972 | 1.1 | 165.5115 | 2.4358 | 366.5087
145 |  |  | Sealent | 286.6 | 5% | 300.93 | LF | 0.01 | 3.0093 | 83.49 | 0.8349 | 251.2465 | 0.5 | 150.465 | 1.3349 | 401.7115
|  |  | 2A: 2" X 6" Interior Wood Stud Wall (10'-0"High) | 3 |  |  | LF
146 |  |  | 5/8" Type-X Gypsum Board On Both Sides | 60 | 10% | 66 | SF | 0.018 | 1.188 | 83.49 | 1.5028 | 99.1861 | 0.56 | 36.96 | 2.0628 | 136.1461
147 |  |  | 4x8 No of Sheets | 2 | 0% | 2 | EA
148 |  |  | Drywall Screws | 80 | 0% | 80 | EA | 0.002 | 0.16 | 83.49 | 0.16698 | 13.3584 | 0.06 | 4.8 | 0.22698 | 18.1584
149 |  |  | Tape Joints | 32 | 5% | 33.6 | LF | 0.011 | 0.3696 | 83.49 | 0.91839 | 30.8579 | 0.03 | 1.008 | 0.94839 | 31.8659
150 |  |  | Mudding | 5.04 | 5% | 5.292 | LBs | 0.11 | 0.58212 | 83.49 | 9.1839 | 48.6012 | 0.5 | 2.646 | 9.6839 | 51.2472
151 |  |  | Sound Acoustic Insulation | 30 | 10% | 33 | SF | 0.01 | 0.33 | 83.49 | 0.8349 | 27.5517 | 0.8 | 26.4 | 1.6349 | 53.9517
152 |  |  | 2" X 6" Wood Studs @ 16" O.C. | 22.5564 | 5% | 23.6842 | LF | 0.018 | 0.42632 | 83.49 | 1.5028 | 35.5931 | 1.4 | 33.1579 | 2.9028 | 68.751
153 |  |  | 2" X 6" Wood Top & Bottom Plate | 6 | 5% | 6.3 | LF | 0.018 | 0.1134 | 83.49 | 1.5028 | 9.4678 | 1.4 | 8.82 | 2.9028 | 18.2878
154 |  |  | Sealent | 12 | 5% | 12.6 | LF | 0.01 | 0.126 | 83.49 | 0.8349 | 10.5197 | 0.5 | 6.3 | 1.3349 | 16.8197
FLOORING
155 |  |  | LVT-1 Luxury Vinyl Tile Mfr: ARMSTRONG FLOORING Model: BIOME COLLECTION Color: MONTANE KILIMANJARO ST252 Size: 6" X 48" | 4490.23 | 10% | 4939.253 | SF | 0.038 | 187.6916 | 77.95 | 2.9621 | 14630.5613 | 3.15 | 15558.647 | 6.1121 | 30189.2083
156 |  |  | CPT-1 Carpet Flooring Color: OAT 107798 Size: 24" X 24" | 257.83 | 10% | 283.613 | SF | 0.035 | 9.9265 | 77.95 | 2.7283 | 773.7672 | 2.85 | 808.2971 | 5.5782 | 1582.0642
157 |  |  | CT-1 Ceramic Tile Flooring Mfr: DALTILE Color: IRON GREY PF06 Finish: SEMI-GLOSS Size: 2" X 2" | 519.82 | 10% | 571.802 | SF | 0.06 | 34.3081 | 77.95 | 4.677 | 2674.318 | 10.7 | 6118.2814 | 15.377 | 8792.5994
BASE & TRIMS
158 |  |  | Door Trims | 1258 | 5% | 1320.9 | LF | 0.024 | 31.7016 | 77.95 | 1.8708 | 2471.1397 | 2.1 | 2773.89 | 3.9708 | 5245.0297
159 |  |  | Window Trims | 1925.12 | 5% | 2021.376 | LF | 0.024 | 48.513 | 77.95 | 1.8708 | 3781.5902 | 2.1 | 4244.8896 | 3.9708 | 8026.4798
160 |  |  | Ceramic Tile Flattop Cove Base As: CTB-1 Mfr: Daltile Model: Portfolio Color: IBIS White, Matte Finish Dimension: (6"x12"), Thickness:5/16" Grout: Custom Building Products | 153.77 | 5% | 161.4585 | LF | 0.028 | 4.5208 | 77.95 | 2.1826 | 352.3993 | 2.35 | 379.4275 | 4.5326 | 731.8268
161 |  |  | Rubber Base As: RB-1 Mfr: Tarkett Color: Moon Rock 29 Height: 6" | 1541.08 | 5% | 1618.134 | LF | 0.026 | 42.0715 | 77.95 | 2.0267 | 3279.4722 | 2.08 | 3365.7187 | 4.1067 | 6645.1909
CEILING
162 |  |  | One Layer of 5/8" Gypsum Ceiling | 4811 | 10% | 5292.1 | SF | 0.027 | 142.8867 | 83.49 | 2.2542 | 11929.6106 | 0.495 | 2619.5895 | 2.7492 | 14549.2001
163 |  |  | 4x8 No of Sheets | 151 | 0% | 151 | EA
164 |  |  | Drywall Screws | 6399 | 0% | 6399 | EA | 0.002 | 12.798 | 83.49 | 0.16698 | 1068.505 | 0.06 | 383.94 | 0.22698 | 1452.445
165 |  |  | Tape Joints | 2416 | 5% | 2536.8 | LF | 0.011 | 27.9048 | 83.49 | 0.91839 | 2329.7718 | 0.03 | 76.104 | 0.94839 | 2405.8758
166 |  |  | Mudding | 404.124 | 5% | 424.3302 | LBs | 0.11 | 46.6763 | 83.49 | 9.1839 | 3897.0061 | 0.5 | 212.1651 | 9.6839 | 4109.1712
167 |  |  | One Layer of 5/8" Moisture Resistant Gypsum Ceiling | 522 | 10% | 574.2 | SF | 0.029 | 16.6518 | 83.49 | 2.4212 | 1390.2588 | 0.74 | 424.908 | 3.1612 | 1815.1668
168 |  |  | 4x8 No of Sheets | 17 | 0% | 17 | EA
169 |  |  | Drywall Screws | 695 | 0% | 695 | EA | 0.002 | 1.39 | 83.49 | 0.16698 | 116.0511 | 0.06 | 41.7 | 0.22698 | 157.7511
170 |  |  | Tape Joints | 272 | 5% | 285.6 | LF | 0.011 | 3.1416 | 83.49 | 0.91839 | 262.2922 | 0.03 | 8.568 | 0.94839 | 270.8602
171 |  |  | Mudding | 43.848 | 5% | 46.0404 | LBs | 0.11 | 5.0644 | 83.49 | 9.1839 | 422.8304 | 0.5 | 23.0202 | 9.6839 | 445.8506
172 |  |  | Paint on Gypsum Board Ceiling | 5333 | 10% | 5866.3 | SF | 0.026 | 152.5238 | 83.49 | 2.1707 | 12734.2121 | 0.5 | 2933.15 | 2.6707 | 15667.3621
173 |  |  | Prepair Existing Ceiling for New Paint | 136 | 10% | 149.6 | SF | 0.034 | 5.0864 | 83.49 | 2.8387 | 424.6635 | 0.6 | 89.76 | 3.4387 | 514.4235
WALL FINISH
174 |  |  | Bullnose Tile As: CT-2 Mfr: Daltile Model: Portfolio Color: White PFO I , Matte Finish Size: (6"x24"), Thickness: 5/16" Grout: Custom Building Products | 188 | 5% | 197.4 | LF | 0.044 | 8.6856 | 77.95 | 3.4298 | 677.0425 | 4.56 | 900.144 | 7.9898 | 1577.1865
175 |  |  | Wood Wall Paneling As: WP-2 Model: The Wood Veneer Hub Color: American Oak, Original Slatpanel Size: 94,49" H x25, 20"W | 111.12 | 10% | 122.232 | SF | 0.068 | 8.3118 | 83.49 | 5.6773 | 693.9502 | 13.66 | 1669.6891 | 19.3373 | 2363.6393
176 |  |  | FRP Panel As: WP-3 Mfr:Marlite Model: Standard Pebbled FRP Color: White P IOO, Finish Pebbled | 133.42 | 10% | 146.762 | SF | 0.032 | 4.6964 | 83.49 | 2.6717 | 392.1011 | 2.75 | 403.5955 | 5.4217 | 795.6966
177 |  |  | Wall Tile As: CT-1 Mfr: Daltile Model: Portfolio Color: White PFO I , Matte Finish Size: (12"x24") Grout: Custom Building Products | 784 | 10% | 862.4 | SF | 0.06 | 51.744 | 77.95 | 4.677 | 4033.4448 | 10.7 | 9227.68 | 15.377 | 13261.1248
178 |  |  | Accent Paint As: PT-10 Mfr: Sherwin Wiliams Color: Loyal blue SW6510 Finish: Eggshell | 1543.2 | 10% | 1697.52 | SF | 0.026 | 44.1355 | 70.3 | 1.8278 | 3102.7271 | 0.55 | 933.636 | 2.3778 | 4036.3631
179 |  |  | Accent Paint As: PT-4 Mfr: Sherwin Wiliams Color: Cayenne Sw6881 Finish: Eggshell | 418.26 | 10% | 460.086 | SF | 0.026 | 11.9622 | 70.3 | 1.8278 | 840.9452 | 0.55 | 253.0473 | 2.3778 | 1093.9925
180 |  |  | Accent Paint As: PT-7 Mfr: Sherwin Wiliams Color: Summer Day SW6662 Finish: Eggshell | 513.52 | 10% | 564.872 | SF | 0.026 | 14.6867 | 70.3 | 1.8278 | 1032.473 | 0.55 | 310.6796 | 2.3778 | 1343.1526
181 |  |  | Accent Paint As: PT-8 Mfr: Sherwin Wiliams Color: SPA SW6765 Finish: Semi-Gloss | 655.06 | 10% | 720.566 | SF | 0.026 | 18.7347 | 70.3 | 1.8278 | 1317.0505 | 0.55 | 396.3113 | 2.3778 | 1713.3618
182 |  |  | Accent Paint As: PT-9 Mfr: Sherwin Wiliams Color: Gulfstream SW6768 Finish: Eggshell | 409.42 | 10% | 450.362 | SF | 0.026 | 11.7094 | 70.3 | 1.8278 | 823.1717 | 0.55 | 247.6991 | 2.3778 | 1070.8708
183 |  |  | Field Paint As: PT-3 Mfr: Sherwin Wiliams Color: IBIS White Finish: Eggshell | 12046.93 | 10% | 13251.623 | SF | 0.026 | 344.5422 | 70.3 | 1.8278 | 24221.3165 | 0.55 | 7288.3926 | 2.3778 | 31509.7092
184 |  |  | Paint on Wall As: PT-2 Mfr: Sherwin Wiliams Color: IBIS White Finish: Semi-Gloss | 1019.09 | 10% | 1120.999 | SF | 0.026 | 29.146 | 70.3 | 1.8278 | 2048.962 | 0.55 | 616.5494 | 2.3778 | 2665.5114
MISC. PAINT
185 |  |  | Paint on Single Leaf Door W/Frame | 40 | 0% | 40 | EA | 1.1 | 44 | 50 | 55 | 2200 | 35.1 | 1404 | 90.1 | 3604
186 |  |  | Paint on Door Trim | 1258 | 5% | 1320.9 | LF | 0.018 | 23.7762 | 50 | 0.9 | 1188.81 | 1.2 | 1585.08 | 2.1 | 2773.89
187 |  |  | Paint on Window Trim | 1925 | 5% | 2021.25 | LF | 0.018 | 36.3825 | 50 | 0.9 | 1819.125 | 1.2 | 2425.5 | 2.1 | 4244.625
188 |  |  | Paint @ Existing Gutter | 382.82 | 5% | 401.961 | LF | 0.022 | 8.8431 | 50 | 1.1 | 442.1571 | 1.45 | 582.8434 | 2.55 | 1025.0005
189 |  |  | Paint @ Existing Downspout | 81.38 | 5% | 85.449 | LF | 0.024 | 2.0508 | 50 | 1.2 | 102.5388 | 1.55 | 132.446 | 2.75 | 234.9847
190 |  |  | Paint @ (3'-0"High) 1 1/2" Dia Brushed Stainless Steel Handrail W/ Post @ 5'-0" O.C. | 81.38 | 5% | 85.449 | LF | 0.067 | 5.7251 | 50 | 3.35 | 286.2541 | 2.7 | 230.7123 | 6.05 | 516.9665
|  |  | SUBTOTAL | [12 empty] | 249600.9648
|  | 10 | DIVISION 10- SPECIALTIES
| A4.1 & A4.2 |  | TOILET ACCESSORIES
191 |  |  | (5'-0" H) Toilet Partition Mfr: BOBRICK Model: 1540 Series Provided And Installed Ay Gc | 40.91 | 5% | 42.9555 | LF | 0.7 | 30.0689 | 60 | 42 | 1804.131 | 100 | 4295.55 | 142 | 6099.681
192 |  |  | A Surface-Mounted Seat-Cover Dispenser Mfr: Bobrick Model: A-22 1 Provided And Installed By Gc" | 6 | 0% | 6 | EA | 0.6 | 3.6 | 60 | 36 | 216 | 110.75 | 664.5 | 146.75 | 880.5
193 |  |  | B Double-Roll Toilet Tissue Dispenser Mfr: Bobrick Model: B-6867 Provided And Installed By Gc" | 6 | 0% | 6 | EA | 0.55 | 3.3 | 60 | 33 | 198 | 121.62 | 729.72 | 154.62 | 927.72
194 |  |  | C I - 1/4" Dia. 36" Grab Bar, Satin Finish, Concealed Mounting Mfr: Bobrick Model: B-5806x36" Provided And Installed By Gc | 4 | 0% | 4 | EA | 0.55 | 2.2 | 60 | 33 | 132 | 55.2 | 220.8 | 88.2 | 352.8
195 |  |  | D I - 1/4" Dia. 42" Grab Bar, Satin Finish Concealed Mounting Mfr: Bobrick Model: B-5806 X 42" Provided And Installed Ay Gc | 4 | 0% | 4 | EA | 0.6 | 2.4 | 60 | 36 | 144 | 60.55 | 242.2 | 96.55 | 386.2
196 |  |  | E1 Surface-Mounted Mirror Mfr:Bobrick Model: B- 1 65 2436 Provided And Installed Ay Gc | 4 | 0% | 4 | EA | 1.22 | 4.88 | 60 | 73.2 | 292.8 | 104.22 | 416.88 | 177.42 | 709.68
197 |  |  | F Surface-Mounted Coat Hook Mfr: Bobrick Model: B-671 Provided And Installed By Gc | 5 | 0% | 5 | EA | 0.38 | 1.9 | 60 | 22.8 | 114 | 29.5 | 147.5 | 52.3 | 261.5
198 |  |  | F2 Sensor Activated Lavatory Faucet Mfr: Symmons Model: S6350B Provided And Installed By Gc | 4 | 0% | 4 | EA | 2.85 | 11.4 | 60 | 171 | 684 | 714.31 | 2857.24 | 885.31 | 3541.24
199 |  |  | H Surface-Mounttd Sanitary Napkin Disposal Mfr: Bobrick Model: B-270 Provided And Installed By Gc" | 6 | 0% | 6 | EA | 0.5 | 3 | 60 | 30 | 180 | 38.37 | 230.22 | 68.37 | 410.22
200 |  |  | I Baby Chancing Station Mfr: Koala Rare" KB Horiz Model: KB-200-01 Grey Provided And Installed Ay Gc | 2 | 0% | 2 | EA | 3.66 | 7.32 | 60 | 219.6 | 439.2 | 411 | 822 | 630.6 | 1261.2
201 |  |  | L Surface-Mounted Betco clario Black Manual Soap Dispenser 12/CS Provided By Owner And Installed By Gc | 4 | 0% | 4 | EA | 0.86 | 3.44 | 60 | 51.6 | 206.4 | 0 | 0 | 51.6 | 206.4
202 |  |  | M Surface-Mounted Enmotion Impulse Automated Paper Towel Dispenser Provided By Owner And Installed By Gc | 4 | 0% | 4 | EA | 0.8 | 3.2 | 60 | 48 | 192 | 0 | 0 | 48 | 192
|  |  | SUBTOTAL | [12 empty] | 15229.141
|  | 12 | DIVISION 12-FURNISHING
| A2.1 |  | WINDOW SHADES
203 |  |  | Window Shade As: WS-1 Mechoshade TBD Series Color: TBD, 3% Open | 192.41 | 5% | 202.0305 | LF | 0.36 | 72.731 | 75 | 27 | 5454.8235 | 36.65 | 7404.4178 | 63.65 | 12859.2413
GUARD RAIL
204 |  |  | (3'-0"High) 1 1/2" Dia Brushed Stainless Steel Handrail W/ Post @ 5'-0" O.C. | 60 | 5% | 63 | LF | 0.32 | 20.16 | 75 | 24 | 1512 | 42 | 2646 | 66 | 4158
COUNTERTOP
205 |  |  | (4" High ) Back Splash | 82 | 5% | 86.1 | LF | 0.038 | 3.2718 | 75 | 2.85 | 245.385 | 18.5 | 1592.85 | 21.35 | 1838.235
206 |  |  | SS-1: Solid Surface Countertop Mfr: WILSONART Color: TBD | 63.6 | 10% | 69.96 | SF | 0.667 | 46.6633 | 75 | 50.025 | 3499.749 | 90 | 6296.4 | 140.025 | 9796.149
207 |  |  | SS-2: Solid Surface Countertop Mfr: WILSONART Color: CALACATTA PERLATO | 70.25 | 10% | 77.275 | SF | 0.662 | 51.1561 | 75 | 49.65 | 3836.7038 | 85 | 6568.375 | 134.65 | 10405.0788
|  |  | SUBTOTAL | [12 empty] | 39056.7041
|  | 22 | DIVISION 22- PLUMBING
FIXTURES
208 |  |  | Angle Stop | 19 | 0% | 19 | EA | 1.1 | 20.9 | 96.91 | 106.601 | 2025.419 | 78 | 1482 | 184.601 | 3507.419
209 | P2.1 & P3.0 |  | Angle Stop Hot Water | 18 | 0% | 18 | EA | 1.25 | 22.5 | 96.91 | 121.1375 | 2180.475 | 119 | 2142 | 240.1375 | 4322.475
210 |  |  | Floor Clean-Out | 3 | 0% | 3 | EA | 1.11 | 3.33 | 96.91 | 107.5701 | 322.7103 | 115 | 345 | 222.5701 | 667.7103
211 |  |  | Wall Clean-Out | 6 | 0% | 6 | EA | 1.15 | 6.9 | 96.91 | 111.4465 | 668.679 | 210 | 1260 | 321.4465 | 1928.679
212 |  |  | Wall Access Panel | 2 | 0% | 2 | EA | 0.85 | 1.7 | 96.91 | 82.3735 | 164.747 | 130 | 260 | 212.3735 | 424.747
213 |  |  | DF-1: Drinking Fountain | 1 | 0% | 1 | EA | 4.89 | 4.89 | 96.91 | 473.8899 | 473.8899 | 2650 | 2650 | 3123.8899 | 3123.8899
214 |  |  | FD-1: Floor Drain JAY R. SMITH #2005Y-AHP | 2 | 0% | 2 | EA | 1.66 | 3.32 | 96.91 | 160.8706 | 321.7412 | 200.28 | 400.56 | 361.1506 | 722.3012
215 |  |  | FS-1: Floor Sink JAY R. SMITH #3140Y | 1 | 0% | 1 | EA | 2.85 | 2.85 | 96.91 | 276.1935 | 276.1935 | 759.67 | 759.67 | 1035.8635 | 1035.8635
216 |  |  | ET-1: Expansion Tank 9 LBS, 4.4 GAL THERM-X-TROL #ST-12 | 1 | 0% | 1 | EA | 1.84 | 1.84 | 96.91 | 178.3144 | 178.3144 | 112.69 | 112.69 | 291.0044 | 291.0044
217 |  |  | CP-1: Circulation Pump 11 LBS, BELL & GOSSETT #NBF-25 (3 SPEED) | 1 | 0% | 1 | EA | 3.2 | 3.2 | 96.91 | 310.112 | 310.112 | 638.75 | 638.75 | 948.862 | 948.862
218 |  |  | WC-1: Water Closet KOHLER #K-3B89-UT ELONGATED, FLOOR MOUNTED TOILET AND TANK, 1.28 GPF. ENSURE TRIP LEVER IS LOCATED ON APPROACH SIDE OF TOILET KOHLER *-29177-GC ELONGATED, OPEN FRONT SEAT FURNISH AND INSTALL ESCUTCHEON, BRAIDED STAINLESS STEEL SUPPLY LINE, QUARTER-TURN ANGLE STOP AND WAX RING. | 2 | 0% | 2 | EA | 5.25 | 10.5 | 96.91 | 508.7775 | 1017.555 | 619.94 | 1239.88 | 1128.7175 | 2257.435
219 |  |  | WC-2: Water Closet KOHLER #K-3889-UT ELONGATED, FLOOR MOUNTED TOILET AND TANK, 128 GPF. ENSURE TRIP LEVER IS LOCATED ON APPROACH SIDE OF TOILET KOHLER #K-29177-GC ELONGATED, OPEN FRONT SEAT FURNISH AND INSTALL ESCUTCHEON, BRAIDED STAINLESS STEEL SUPPLY LINE, QUARTER-TURN ANGLE STOP AND WAX RING. | 4 | 0% | 4 | EA | 5.25 | 21 | 96.91 | 508.7775 | 2035.11 | 619.94 | 2479.76 | 1128.7175 | 4514.87
220 |  |  | TP-1: Trap Priemer ppp _500 TRAP PRIMER PPP #DU-U DISTRIBUTION BOX AS REQUIRED FURNISH AND INSTALL ACCESS PANEL AS REQUIRED | 2 | 0% | 2 | EA | 1.1 | 2.2 | 96.91 | 106.601 | 213.202 | 179.71 | 359.42 | 286.311 | 572.622
221 |  |  | LV-1: Lavatory KOHLER *2867 WALL MOUNTED SINK WITH OVERFLOW SYMMONS DECK MOUNTED BATTERY POWERED SENSOR FAUCET 0.35 GPM BRADLEY #S59-4000A THERMOSTATIC MIXING VALVE, SET AT 1100 FURNISH AND INSTALL FIXTURE CARRIER COMPATIBLE WITH WITH LAVATORY FURNISH AND INSTALL CHROME PLATED BRASS TAILPIECE, P-TRAP, TRAP ARM, ESCUTCHEONS, STAINLESS STEEL SUPPLY LINES AND QUARTER-TURN ANGLE STOPS | 4 | 0% | 4 | EA | 5.15 | 20.6 | 96.91 | 499.0865 | 1996.346 | 1388.58 | 5554.32 | 1887.6665 | 7550.666
222 |  |  | MS-1: MOP Sink FIAT #TSB3010 FLOOR MOUNTED, SQUARE MOP BASIN BRASS #B-0665-BSTR WALL MOUNTED FAUCET WITH VACUUM BREAKER | 1 | 0% | 1 | EA | 5.45 | 5.45 | 96.91 | 528.1595 | 528.1595 | 1335.47 | 1335.47 | 1863.6295 | 1863.6295
223 |  |  | SK-1: Sink JUST #US-ADA-1616-A UNDERMOUNT, SINGLE COMPARTMENT SINK SLOAN #EAF-750, SENSOR OPERATED GOOSENECK FAUCET, 0.35 GPM BRADLEY #S59-4000A THERMOSTATIC MIXING VALVE, SET AT 1106 FURNISH AND INSTALL CHROME PLATED BRASS TAILPIECE, P-TRAP, TRAP ARM, ESCUTCHEONS, STAINLESS STEEL SUPPLY LINES AND QUARTER TURN ANGLE STOPS | 3 | 0% | 3 | EA | 5.65 | 16.95 | 96.91 | 547.5415 | 1642.6245 | 1853.54 | 5560.62 | 2401.0815 | 7203.2445
224 |  |  | SK-2: Sink JUST #DLADA1829A55-J, 2-COMPARTMENT SINK SLOAN #EBF-750, SENSOR OPERATED GOOSENECK FAUCET, 1.5 GPM FURNISH AND INSTALL CHROME PLATED BRASS TAILPIECE, P-TRAP, TRAP ARM, ESCUTCHEONS, STAINLESS STEEL SUPPLY LINES AND QUARTER TURN ANGLE STOPS | 1 | 0% | 1 | EA | 5.95 | 5.95 | 96.91 | 576.6145 | 576.6145 | 2138.68 | 2138.68 | 2715.2945 | 2715.2945
225 |  |  | UR-1: Urinal KOHLER #K-5452-ET WALL MOUNTED, TOP SPUD URINAL TOTO #TEUI UA#CP SENSOR OPERATED FLUSH VALVE, O. 125 GPF FURNISH AND INSTALL FIXTURE CARRIER COMPATIBLE WITH URINAL FURNISH AND INSTALL CLEANOUT ABOUT FIXTURE CONNECTION FITTING AS REQUIRED PER CPC | 1 | 0% | 1 | EA | 3.95 | 3.95 | 96.91 | 382.7945 | 382.7945 | 937.85 | 937.85 | 1320.6445 | 1320.6445
226 |  |  | WHA-1: Water Hammer Arrestor PPP #SC SERIES | 1 | 0% | 1 | EA | 0.86 | 0.86 | 96.91 | 83.3426 | 83.3426 | 109.29 | 109.29 | 192.6326 | 192.6326
PIPING
227 |  |  | 2" Vent Pipe | 325 | 5% | 341.25 | LF | 0.271 | 92.4788 | 96.91 | 26.2626 | 8962.1157 | 5 | 1706.25 | 31.2626 | 10668.3657
228 |  |  | 2" Sanitary Pipe | 29 | 5% | 30.45 | LF | 0.271 | 8.252 | 96.91 | 26.2626 | 799.6965 | 5 | 152.25 | 31.2626 | 951.9465
229 |  |  | 3" Sanitary Pipe | 16 | 5% | 16.8 | LF | 0.302 | 5.0736 | 96.91 | 29.2668 | 491.6826 | 8.15 | 136.92 | 37.4168 | 628.6026
230 |  |  | 4" Sanitary Pipe | 296 | 5% | 310.8 | LF | 0.333 | 103.4964 | 96.91 | 32.271 | 10029.8361 | 10.45 | 3247.86 | 42.721 | 13277.6961
231 |  |  | 1" Domestic Water Pipe | 119 | 5% | 124.95 | LF | 0.118 | 14.7441 | 96.91 | 11.4354 | 1428.8507 | 7.25 | 905.8875 | 18.6854 | 2334.7382
232 |  |  | 2" Domestic Water Pipe | 52 | 5% | 54.6 | LF | 0.286 | 15.6156 | 96.91 | 27.7163 | 1513.3078 | 37.5 | 2047.5 | 65.2163 | 3560.8078
233 |  |  | 3/4" Domestic Water Pipe | 185 | 5% | 194.25 | LF | 0.105 | 20.3962 | 96.91 | 10.1755 | 1976.6006 | 5.5 | 1068.375 | 15.6755 | 3044.9756
234 |  |  | 1 1/2" Domestic Water Pipe | 77 | 5% | 80.85 | LF | 0.154 | 12.4509 | 96.91 | 14.9241 | 1206.6167 | 12.25 | 990.4125 | 27.1741 | 2197.0292
235 |  |  | 1 1/4" Domestic Water Pipe | 95 | 5% | 99.75 | LF | 0.138 | 13.7655 | 96.91 | 13.3736 | 1334.0146 | 9.85 | 982.5375 | 23.2236 | 2316.5521
236 |  |  | 1 1/4" Condensate Drain Pipe | 155 | 5% | 162.75 | LF | 0.124 | 20.181 | 96.91 | 12.0168 | 1955.7407 | 4.17 | 678.6675 | 16.1868 | 2634.4082
|  |  | SUBTOTAL | [12 empty] | 86779.1119
|  | 23 | DIVISION 23- HVAC
FIXTURES
237 | M2.1 |  | Filter-Box | 10 | 0% | 10 | EA | 1.45 | 14.5 | 96.91 | 140.5195 | 1405.195 | 169 | 1690 | 309.5195 | 3095.195
238 |  |  | Thermostat | 1 | 0% | 1 | EA | 1.85 | 1.85 | 96.91 | 179.2835 | 179.2835 | 225 | 225 | 404.2835 | 404.2835
PLENUMS
239 |  |  | 26" X 12" Plenum | 1 | 0% | 1 | EA | 0.7 | 0.7 | 96.91 | 67.837 | 67.837 | 64.28 | 64.28 | 132.117 | 132.117
240 |  |  | 26" X 10" Plenum | 1 | 0% | 1 | EA | 0.647 | 0.647 | 96.91 | 62.7008 | 62.7008 | 54.53 | 54.53 | 117.2308 | 117.2308
241 |  |  | 38" X 10" Plenum | 4 | 0% | 4 | EA | 0.77 | 3.08 | 96.91 | 74.6207 | 298.4828 | 77.07 | 308.28 | 151.6907 | 606.7628
242 |  |  | 37" X 12" Plenum | 1 | 0% | 1 | EA | 0.835 | 0.835 | 96.91 | 80.9198 | 80.9198 | 89.1 | 89.1 | 170.0198 | 170.0198
243 |  |  | 38" X 14" Plenum | 1 | 0% | 1 | EA | 0.926 | 0.926 | 96.91 | 89.7387 | 89.7387 | 105.64 | 105.64 | 195.3787 | 195.3787
244 |  |  | 54" X 10" Plenum | 2 | 0% | 2 | EA | 0.934 | 1.868 | 96.91 | 90.5139 | 181.0279 | 107.14 | 214.28 | 197.6539 | 395.3079
245 |  |  | 37" X 14" Plenum | 1 | 0% | 1 | EA | 0.911 | 0.911 | 96.91 | 88.285 | 88.285 | 103.03 | 103.03 | 191.315 | 191.315
246 |  |  | 53" X 10" Plenum | 1 | 0% | 1 | EA | 0.924 | 0.924 | 96.91 | 89.5448 | 89.5448 | 105.26 | 105.26 | 194.8048 | 194.8048
247 |  |  | 53" X 16" Plenum | 1 | 0% | 1 | EA | 1.25 | 1.25 | 96.91 | 121.1375 | 121.1375 | 165 | 165 | 286.1375 | 286.1375
AIR DEVICES
248 |  |  | A: Ceiling Diffuser 70 CFM TITUS #MCD-AA | 1 | 0% | 1 | EA | 1 | 1 | 96.91 | 96.91 | 96.91 | 90 | 90 | 186.91 | 186.91
249 |  |  | A: Ceiling Diffuser 75 CFM TITUS #MCD-AA | 3 | 0% | 3 | EA | 1 | 3 | 96.91 | 96.91 | 290.73 | 100 | 300 | 196.91 | 590.73
250 |  |  | A: Ceiling Diffuser 100CFM TITUS #MCD-AA | 13 | 0% | 13 | EA | 1.1 | 14.3 | 96.91 | 106.601 | 1385.813 | 120 | 1560 | 226.601 | 2945.813
251 |  |  | A: Ceiling Diffuser 125 CFM TITUS #MCD-AA | 2 | 0% | 2 | EA | 1.1 | 2.2 | 96.91 | 106.601 | 213.202 | 140 | 280 | 246.601 | 493.202
252 |  |  | A: Ceiling Diffuser 150 CFM TITUS #MCD-AA | 1 | 0% | 1 | EA | 1.1 | 1.1 | 96.91 | 106.601 | 106.601 | 160 | 160 | 266.601 | 266.601
253 |  |  | A: Ceiling Diffuser 175 CFM TITUS #MCD-AA | 1 | 0% | 1 | EA | 1.2 | 1.2 | 96.91 | 116.292 | 116.292 | 180 | 180 | 296.292 | 296.292
254 |  |  | A: Ceiling Diffuser 195 CFM TITUS #MCD-AA | 2 | 0% | 2 | EA | 1.2 | 2.4 | 96.91 | 116.292 | 232.584 | 190 | 380 | 306.292 | 612.584
255 |  |  | A: Ceiling Diffuser 200 CFM TITUS #MCD-AA | 12 | 0% | 12 | EA | 1.2 | 14.4 | 96.91 | 116.292 | 1395.504 | 200 | 2400 | 316.292 | 3795.504
256 |  |  | A: Ceiling Diffuser 240 CFM TITUS #MCD-AA | 1 | 0% | 1 | EA | 1.3 | 1.3 | 96.91 | 125.983 | 125.983 | 230 | 230 | 355.983 | 355.983
257 |  |  | A: Ceiling Diffuser 250 CFM TITUS #MCD-AA | 2 | 0% | 2 | EA | 1.3 | 2.6 | 96.91 | 125.983 | 251.966 | 240 | 480 | 365.983 | 731.966
258 |  |  | A: Ceiling Diffuser 290 CFM TITUS #MCD-AA | 1 | 0% | 1 | EA | 1.3 | 1.3 | 96.91 | 125.983 | 125.983 | 270 | 270 | 395.983 | 395.983
259 |  |  | A: Ceiling Diffuser-300 CFM TITUS #MCD-AA | 1 | 0% | 1 | EA | 1.4 | 1.4 | 96.91 | 135.674 | 135.674 | 280 | 280 | 415.674 | 415.674
260 |  |  | B: Ceiling Diffuser 60 CFM TITUS #50A | 1 | 0% | 1 | EA | 1 | 1 | 96.91 | 96.91 | 96.91 | 80 | 80 | 176.91 | 176.91
261 |  |  | B: Ceiling Diffuser 50 CFM TITUS #50A | 1 | 0% | 1 | EA | 1 | 1 | 96.91 | 96.91 | 96.91 | 80 | 80 | 176.91 | 176.91
262 |  |  | B: Ceiling Diffuser 65 CFM TITUS #50A | 1 | 0% | 1 | EA | 1 | 1 | 96.91 | 96.91 | 96.91 | 90 | 90 | 186.91 | 186.91
263 |  |  | B: Ceiling Diffuser 80 CFM TITUS #50A | 2 | 0% | 2 | EA | 1 | 2 | 96.91 | 96.91 | 193.82 | 100 | 200 | 196.91 | 393.82
264 |  |  | B: Ceiling Diffuser 85 CFM TITUS #50A | 4 | 0% | 4 | EA | 1 | 4 | 96.91 | 96.91 | 387.64 | 100 | 400 | 196.91 | 787.64
265 |  |  | B: Ceiling Diffuser 90 CFM TITUS #50A | 2 | 0% | 2 | EA | 1.1 | 2.2 | 96.91 | 106.601 | 213.202 | 110 | 220 | 216.601 | 433.202
266 |  |  | B: Ceiling Diffuser 100 CFM TITUS #50A | 1 | 0% | 1 | EA | 1.1 | 1.1 | 96.91 | 106.601 | 106.601 | 120 | 120 | 226.601 | 226.601
267 |  |  | B: Ceiling Diffuser 125 CFM TITUS #50A | 2 | 0% | 2 | EA | 1.1 | 2.2 | 96.91 | 106.601 | 213.202 | 140 | 280 | 246.601 | 493.202
268 |  |  | B: Ceiling Diffuser 150 CFM TITUS #50A | 1 | 0% | 1 | EA | 1.1 | 1.1 | 96.91 | 106.601 | 106.601 | 160 | 160 | 266.601 | 266.601
269 |  |  | B: Ceiling Diffuser 170 CFM TITUS #50A | 2 | 0% | 2 | EA | 1.2 | 2.4 | 96.91 | 116.292 | 232.584 | 170 | 340 | 286.292 | 572.584
270 |  |  | B: Ceiling Diffuser 180 CFM TITUS #50A | 1 | 0% | 1 | EA | 1.2 | 1.2 | 96.91 | 116.292 | 116.292 | 180 | 180 | 296.292 | 296.292
271 |  |  | B: Ceiling Diffuser 240 CFM TITUS #50A | 2 | 0% | 2 | EA | 1.3 | 2.6 | 96.91 | 125.983 | 251.966 | 230 | 460 | 355.983 | 711.966
272 |  |  | B: Ceiling Diffuser 280 CFM TITUS #50A | 1 | 0% | 1 | EA | 1.3 | 1.3 | 96.91 | 125.983 | 125.983 | 260 | 260 | 385.983 | 385.983
273 |  |  | B: Ceiling Diffuser 335 CFM TITUS #50A | 1 | 0% | 1 | EA | 1.4 | 1.4 | 96.91 | 135.674 | 135.674 | 300 | 300 | 435.674 | 435.674
274 |  |  | B: Ceiling Diffuser 340 CFM TITUS #50A | 3 | 0% | 3 | EA | 1.4 | 4.2 | 96.91 | 135.674 | 407.022 | 310 | 930 | 445.674 | 1337.022
275 |  |  | B: Ceiling Diffuser 370 CFM TITUS #50A | 1 | 0% | 1 | EA | 1.4 | 1.4 | 96.91 | 135.674 | 135.674 | 330 | 330 | 465.674 | 465.674
276 |  |  | B: Ceiling Diffuser 390 CFM TITUS #50A | 1 | 0% | 1 | EA | 1.5 | 1.5 | 96.91 | 145.365 | 145.365 | 350 | 350 | 495.365 | 495.365
277 |  |  | B: Ceiling Diffuser 400 CFM TITUS #50A | 1 | 0% | 1 | EA | 1.5 | 1.5 | 96.91 | 145.365 | 145.365 | 360 | 360 | 505.365 | 505.365
278 |  |  | B: Ceiling Diffuser175 CFM TITUS #50A | 2 | 0% | 2 | EA | 1.2 | 2.4 | 96.91 | 116.292 | 232.584 | 180 | 360 | 296.292 | 592.584
279 |  |  | B: Ceiling Diffuser260 CFM TITUS #50A | 1 | 0% | 1 | EA | 1.3 | 1.3 | 96.91 | 125.983 | 125.983 | 240 | 240 | 365.983 | 365.983
280 |  |  | C: Ceiling Diffuser 395 CFM TITUS #355RL | 2 | 0% | 2 | EA | 1.5 | 3 | 96.91 | 145.365 | 290.73 | 350 | 700 | 495.365 | 990.73
EXHAUST FANS
281 |  |  | EF-1: Exhaust Fan 250 CFM, 25 LBS GREENHECK #CSP-A390-VG | 1 | 0% | 1 | EA | 2.5 | 2.5 | 96.91 | 242.275 | 242.275 | 676 | 676 | 918.275 | 918.275
282 |  |  | EF-2: Exhaust Fan 75 CFM, 15 LBS GREENHECK #SP-B150 | 1 | 0% | 1 | EA | 2.1 | 2.1 | 96.91 | 203.511 | 203.511 | 198 | 198 | 401.511 | 401.511
283 |  |  | EF-3: Exhaust Fan 75 CFM, 15 LBS GREENHECK #SP-B150 | 1 | 0% | 1 | EA | 2.1 | 2.1 | 96.91 | 203.511 | 203.511 | 198 | 198 | 401.511 | 401.511
284 |  |  | EF-4: Exhaust Fan 75 CFM, 15 LBS GREENHECK #SP-B150 | 1 | 0% | 1 | EA | 2.1 | 2.1 | 96.91 | 203.511 | 203.511 | 198 | 198 | 401.511 | 401.511
285 |  |  | EF-5: Exhaust Fan 250 CFM, 25 LBS GREENHECK #CSP-A390-VG | 1 | 0% | 1 | EA | 2.5 | 2.5 | 96.91 | 242.275 | 242.275 | 676 | 676 | 918.275 | 918.275
SPLIT FAN COIL UNIT (INDOOR UNIT)
286 |  |  | FCU-1 Split Fan Unit TOSHIBA CARRIER RAV-HB241 BTP-UL 775 CFM 2.0 TON 100 LBS | 1 | 0% | 1 | EA | 3.3 | 3.3 | 96.91 | 319.803 | 319.803 | 2650 | 2650 | 2969.803 | 2969.803
287 |  |  | FCU-2.1 Split Fan Unit TOSHIBA CARRIER RAV-HB241 BTP-UL 775 CFM 2.0 TON 100 LBS | 1 | 0% | 1 | EA | 3.3 | 3.3 | 96.91 | 319.803 | 319.803 | 2650 | 2650 | 2969.803 | 2969.803
288 |  |  | FCU-2.2 Split Fan Unit TOSHIBA CARRIER RAV-HB241 BTP-UL 775 CFM 2.0 TON 100 LBS | 1 | 0% | 1 | EA | 3.3 | 3.3 | 96.91 | 319.803 | 319.803 | 2650 | 2650 | 2969.803 | 2969.803
289 |  |  | FCU-3 Split Fan Unit TOSHIBA CARRIER RAV-HB121 BTP-UL 395 CFM 1.0 TON 80 LBS | 1 | 0% | 1 | EA | 2.5 | 2.5 | 96.91 | 242.275 | 242.275 | 1660 | 1660 | 1902.275 | 1902.275
290 |  |  | FCU 4.1 Split Fan Unit TOSHIBA CARRIER RAV-HB121 BTP-UL 395 CFM 1.0 TON 80 LBS | 1 | 0% | 1 | EA | 2.5 | 2.5 | 96.91 | 242.275 | 242.275 | 1660 | 1660 | 1902.275 | 1902.275
291 |  |  | FCU-4.2 Split Fan Unit TOSHIBA CARRIER RAV-HB241 BTP-UL 775 CFM 2.0 TON 100 LBS | 1 | 0% | 1 | EA | 3.3 | 3.3 | 96.91 | 319.803 | 319.803 | 2650 | 2650 | 2969.803 | 2969.803
292 |  |  | FCU-5.1 Split Fan Unit TOSHIBA CARRIER RAV-HB301 BTP-UL 990 CFM 2.5 TON 135 LBS | 1 | 0% | 1 | EA | 4 | 4 | 96.91 | 387.64 | 387.64 | 3280 | 3280 | 3667.64 | 3667.64
293 |  |  | FCU-5.2 Split Fan Unit TOSHIBA CARRIER RAV-HB301 BTP-UL 990 CFM 2.5 TON 135 LBS | 1 | 0% | 1 | EA | 4 | 4 | 96.91 | 387.64 | 387.64 | 3280 | 3280 | 3667.64 | 3667.64
294 |  |  | FCU-6 Split Fan Unit TOSHIBA CARRIER RAV-HB121 BTP-UL 395 CFM 1.0 TON 80 LBS | 1 | 0% | 1 | EA | 2.5 | 2.5 | 96.91 | 242.275 | 242.275 | 1660 | 1660 | 1902.275 | 1902.275
295 |  |  | FCU-7 Split Fan Unit TOSHIBA CARRIER RAV-HB121 BTP-UL 395 CFM 1.0 TON 80 LBS | 1 | 0% | 1 | EA | 2.5 | 2.5 | 96.91 | 242.275 | 242.275 | 1660 | 1660 | 1902.275 | 1902.275
CONDENSING UNIT (OUTDOOR UNIT)
296 |  |  | CU-1: Condensing Unit 140 LBS TOSHIBA CARRIER #RAV-BP241AT2P-UL | 1 | 0% | 1 | EA | 3.85 | 3.85 | 96.91 | 373.1035 | 373.1035 | 2950 | 2950 | 3323.1035 | 3323.1035
297 |  |  | CU-2.1: Condensing Unit 140 LBS TOSHIBA CARRIER #RAV-BP241AT2P-UL | 1 | 0% | 1 | EA | 3.85 | 3.85 | 96.91 | 373.1035 | 373.1035 | 2950 | 2950 | 3323.1035 | 3323.1035
298 |  |  | CU-2.2: Condensing Unit 140 LBS TOSHIBA CARRIER #RAV-BP241AT2P-UL | 1 | 0% | 1 | EA | 3.85 | 3.85 | 96.91 | 373.1035 | 373.1035 | 2950 | 2950 | 3323.1035 | 3323.1035
299 |  |  | CU-3: Condensing Unit 85 LBS TOSHIBA CARRIER #RAV-BP121AT2P-UL | 1 | 0% | 1 | EA | 3.1 | 3.1 | 96.91 | 300.421 | 300.421 | 2125 | 2125 | 2425.421 | 2425.421
300 |  |  | CU-4.1: Condensing Unit 85 LBS TOSHIBA CARRIER #RAV-BP121AT2P-UL | 1 | 0% | 1 | EA | 3.1 | 3.1 | 96.91 | 300.421 | 300.421 | 2125 | 2125 | 2425.421 | 2425.421
301 |  |  | CU-4.2: Condensing Unit 140 LBS TOSHIBA CARRIER #RAV-BP241AT2P-UL | 1 | 0% | 1 | EA | 3.85 | 3.85 | 96.91 | 373.1035 | 373.1035 | 2950 | 2950 | 3323.1035 | 3323.1035
302 |  |  | CU-5.1: Condensing Unit 220 LBS TOSHIBA CARRIER #RAV-BP301AT2P-UL | 1 | 0% | 1 | EA | 4.86 | 4.86 | 96.91 | 470.9826 | 470.9826 | 3300 | 3300 | 3770.9826 | 3770.9826
303 |  |  | CU-5.2: Condensing Unit 220 LBS TOSHIBA CARRIER #RAV-BP301AT2P-UL | 1 | 0% | 1 | EA | 4.86 | 4.86 | 96.91 | 470.9826 | 470.9826 | 3300 | 3300 | 3770.9826 | 3770.9826
304 |  |  | CU-6: Condensing Unit 85 LBS TOSHIBA CARRIER #RAV-BP121AT2P-UL | 1 | 0% | 1 | EA | 3.1 | 3.1 | 96.91 | 300.421 | 300.421 | 2125 | 2125 | 2425.421 | 2425.421
305 |  |  | CU-7: Condensing Unit 85 LBS TOSHIBA CARRIER #RAV-BP121AT2P-UL | 1 | 0% | 1 | EA | 3.1 | 3.1 | 96.91 | 300.421 | 300.421 | 2125 | 2125 | 2425.421 | 2425.421
DUCT FITTINGS
306 |  |  | 45 Deg Elbow | 35 | 0% | 35 | EA | 0.6 | 21 | 96.91 | 58.146 | 2035.11 | 32 | 1120 | 90.146 | 3155.11
307 |  |  | 90 Deg Elbow | 41 | 0% | 41 | EA | 0.68 | 27.88 | 96.91 | 65.8988 | 2701.8508 | 44 | 1804 | 109.8988 | 4505.8508
308 |  |  | Duct Transition | 30 | 0% | 30 | EA | 0.7 | 21 | 96.91 | 67.837 | 2035.11 | 58 | 1740 | 125.837 | 3775.11
309 |  |  | Branch Duct Takeoff | 44 | 0% | 44 | EA | 0.65 | 28.6 | 96.91 | 62.9915 | 2771.626 | 55 | 2420 | 117.9915 | 5191.626
ROUND DUCTS
310 |  |  | 4" Dia Round Duct | 8.77 | 5% | 9.2085 | LF | 0.204 | 1.8785 | 96.91 | 19.7696 | 182.0487 | 4.3 | 39.5966 | 24.0696 | 221.6453
311 |  |  | 6" Dia Round Duct | 287.95 | 5% | 302.3475 | LF | 0.235 | 71.0517 | 96.91 | 22.7738 | 6885.6166 | 5.66 | 1711.2868 | 28.4338 | 8596.9035
312 |  |  | 7" Dia Round Duct | 63.43 | 5% | 66.6015 | LF | 0.25 | 16.6504 | 96.91 | 24.2275 | 1613.5878 | 6.5 | 432.9097 | 30.7275 | 2046.4976
313 |  |  | 8" Dia Round Duct | 303.94 | 5% | 319.137 | LF | 0.262 | 83.6139 | 96.91 | 25.3904 | 8103.0225 | 7.9 | 2521.1823 | 33.2904 | 10624.2048
314 |  |  | 10" Dia Round Duct | 264.19 | 5% | 277.3995 | LF | 0.291 | 80.7233 | 96.91 | 28.2008 | 7822.8906 | 11.04 | 3062.4905 | 39.2408 | 10885.3811
315 |  |  | 12" Dia Round Duct | 58.03 | 5% | 60.9315 | LF | 0.31 | 18.8888 | 96.91 | 30.0421 | 1830.5102 | 13.35 | 813.4355 | 43.3921 | 2643.9457
RECTANGULAR DUCTS
316 |  |  | 12" X 12" Rectangular Duct | 52.32 | 5% | 54.936 | LF | 0.96 | 52.7386 | 96.91 | 93.0336 | 5110.8938 | 24.048 | 1321.1009 | 117.0816 | 6431.9948
317 |  |  | 8" X 8" Rectangular Duct | 19.73 | 5% | 20.7165 | LF | 0.64 | 13.2586 | 96.91 | 62.0224 | 1284.887 | 10.688 | 221.418 | 72.7104 | 1506.305
318 |  |  | 12" X 8" Rectangular Duct | 24.67 | 5% | 25.9035 | LF | 0.8 | 20.7228 | 96.91 | 77.528 | 2008.2465 | 16.032 | 415.2849 | 93.56 | 2423.5315
319 |  |  | 12" X 14" Rectangular Duct | 4.28 | 5% | 4.494 | LF | 1.04 | 4.6738 | 96.91 | 100.7864 | 452.9341 | 28.056 | 126.0837 | 128.8424 | 579.0177
320 |  |  | 16" X 6" Rectangular Duct | 17.25 | 5% | 18.1125 | LF | 0.88 | 15.939 | 96.91 | 85.2808 | 1544.6485 | 16.032 | 290.3796 | 101.3128 | 1835.0281
321 |  |  | 12" X 6" Rectangular Duct | 11.77 | 5% | 12.3585 | LF | 0.72 | 8.8981 | 96.91 | 69.7752 | 862.3168 | 12.024 | 148.5986 | 81.7992 | 1010.9154
322 |  |  | 16" X 8" Rectangular Duct | 27.59 | 5% | 28.9695 | LF | 0.96 | 27.8107 | 96.91 | 93.0336 | 2695.1369 | 21.376 | 619.252 | 114.4096 | 3314.3889
323 |  |  | 10" X 10" Rectangular Duct | 37.05 | 5% | 38.9025 | LF | 0.8 | 31.122 | 96.91 | 77.528 | 3016.033 | 16.7 | 649.6717 | 94.228 | 3665.7048
324 |  |  | 10" X 8" Rectangular Duct | 46.6 | 5% | 48.93 | LF | 0.72 | 35.2296 | 96.91 | 69.7752 | 3414.1005 | 13.36 | 653.7048 | 83.1352 | 4067.8053
325 |  |  | 37" X 14" Rectangular Duct | 2.69 | 5% | 2.8245 | LF | 2.04 | 5.762 | 96.91 | 197.6964 | 558.3935 | 86.506 | 244.3362 | 284.2024 | 802.7297
326 |  |  | 22" X 8" Rectangular Duct | 26.78 | 5% | 28.119 | LF | 1.2 | 33.7428 | 96.91 | 116.292 | 3270.0147 | 29.392 | 826.4736 | 145.684 | 4096.4884
327 |  |  | 14" X 8" Rectangular Duct | 23.6 | 5% | 24.78 | LF | 0.88 | 21.8064 | 96.91 | 85.2808 | 2113.2582 | 18.704 | 463.4851 | 103.9848 | 2576.7433
INSULATION
328 |  |  | 1" Thick Insulation @ Ducts | 3170 | 10% | 3487 | SF | 0.048 | 167.376 | 96.91 | 4.6517 | 16220.4082 | 0.8 | 2789.6 | 5.4517 | 19010.0082
|  |  | SUBTOTAL | [12 empty] | 190540.4868
|  | 26 | DIVISION 26- ELECTRICAL
LIGHTING FIXTURES
329 | E0.2, E2.1, E2.2 & E 2.3 |  | (24" X 48") Fluroscent Recessed Light | 50 | 0% | 50 | EA | 1.2 | 60 | 92 | 110.4 | 5520 | 196.4 | 9820 | 306.8 | 15340
330 |  |  | (24" X 48") Fluroscent Recessed Light W/ Emergency Backup | 7 | 0% | 7 | EA | 1.42 | 9.94 | 92 | 130.64 | 914.48 | 231.4 | 1619.8 | 362.04 | 2534.28
331 |  |  | (24" X 24") Fluroscent Recessed Light | 8 | 0% | 8 | EA | 1 | 8 | 92 | 92 | 736 | 135 | 1080 | 227 | 1816
332 |  |  | (24" X 24") Fluroscent Recessed Light W/ Emergency Backup | 7 | 0% | 7 | EA | 1.22 | 8.54 | 92 | 112.24 | 785.68 | 170 | 1190 | 282.24 | 1975.68
333 |  |  | (12" X 48") Fluroscent Recessed Light | 4 | 0% | 4 | EA | 1.35 | 5.4 | 92 | 124.2 | 496.8 | 152.02 | 608.08 | 276.22 | 1104.88
334 |  |  | Exit Sign | 6 | 0% | 6 | EA | 1 | 6 | 92 | 92 | 552 | 135 | 810 | 227 | 1362
335 |  |  | Exterior Light | 4 | 0% | 4 | EA | 1.42 | 5.68 | 92 | 130.64 | 522.56 | 295 | 1180 | 425.64 | 1702.56
336 |  |  | Recessed Light | 4 | 0% | 4 | EA | 0.62 | 2.48 | 92 | 57.04 | 228.16 | 42 | 168 | 99.04 | 396.16
337 |  |  | Exterior Recessed Light | 5 | 0% | 5 | EA | 0.76 | 3.8 | 92 | 69.92 | 349.6 | 62 | 310 | 131.92 | 659.6
338 |  |  | Ceiling Light | 13 | 0% | 13 | EA | 1.32 | 17.16 | 92 | 121.44 | 1578.72 | 168.5 | 2190.5 | 289.94 | 3769.22
339 |  |  | Emergency Light Fixture | 2 | 0% | 2 | EA | 0.86 | 1.72 | 92 | 79.12 | 158.24 | 148.35 | 296.7 | 227.47 | 454.94
340 |  |  | 36" Dia Chandlier | 1 | 0% | 1 | EA | 4.1 | 4.1 | 92 | 377.2 | 377.2 | 1376 | 1376 | 1753.2 | 1753.2
341 |  |  | 24" Dia Chandlier | 1 | 0% | 1 | EA | 3.66 | 3.66 | 92 | 336.72 | 336.72 | 850 | 850 | 1186.72 | 1186.72
LIGHTING CONTROLS
342 |  |  | 1-Way Switch | 7 | 0% | 7 | EA | 0.38 | 2.66 | 92 | 34.96 | 244.72 | 48 | 336 | 82.96 | 580.72
343 |  |  | Dimmer Switch | 10 | 0% | 10 | EA | 0.34 | 3.4 | 92 | 31.28 | 312.8 | 44 | 440 | 75.28 | 752.8
344 |  |  | Vacancy Sensor Switch | 21 | 0% | 21 | EA | 0.72 | 15.12 | 92 | 66.24 | 1391.04 | 88 | 1848 | 154.24 | 3239.04
345 |  |  | Occupancy Sensor | 27 | 0% | 27 | EA | 0.88 | 23.76 | 92 | 80.96 | 2185.92 | 142 | 3834 | 222.96 | 6019.92
POWER DEVICES
346 |  |  | Junction Box | 36 | 0% | 36 | EA | 0.7 | 25.2 | 92 | 64.4 | 2318.4 | 30 | 1080 | 94.4 | 3398.4
347 |  |  | Toggle Switch | 15 | 0% | 15 | EA | 0.55 | 8.25 | 92 | 50.6 | 759 | 55 | 825 | 105.6 | 1584
348 |  |  | Double Duplex Receptacle | 37 | 0% | 37 | EA | 0.42 | 15.54 | 92 | 38.64 | 1429.68 | 42 | 1554 | 80.64 | 2983.68
349 |  |  | Duplex Receptacle | 80 | 0% | 80 | EA | 0.3 | 24 | 92 | 27.6 | 2208 | 24.1 | 1928 | 51.7 | 4136
350 |  |  | GFCI Duplex Receptacle | 12 | 0% | 12 | EA | 0.35 | 4.2 | 92 | 32.2 | 386.4 | 28 | 336 | 60.2 | 722.4
351 |  |  | GD Duplex Receptacle | 2 | 0% | 2 | EA | 0.35 | 0.7 | 92 | 32.2 | 64.4 | 28 | 56 | 60.2 | 120.4
352 |  |  | NON-FUSIBLE NEMA 3R DISCONNECT SWITCH, 60AMP, 2POLE, 240 VOLT | 2 | 0% | 2 | EA | 0.85 | 1.7 | 92 | 78.2 | 156.4 | 210 | 420 | 288.2 | 576.4
353 |  |  | NON-FUSIBLE NEMA 3R DISCONNECT SWITCH, 40AMP, POLE, 240 VOLT | 8 | 0% | 8 | EA | 0.8 | 6.4 | 92 | 73.6 | 588.8 | 175 | 1400 | 248.6 | 1988.8
EQUIPMENT CONNECTIONS
354 |  |  | Connection for FCU-7 | 1 | 0% | 1 | EA | 0.3 | 0.3 | 92 | 27.6 | 27.6 | 27.4 | 27.4 | 55 | 55
355 |  |  | Connection for FCU-6 | 1 | 0% | 1 | EA | 0.3 | 0.3 | 92 | 27.6 | 27.6 | 27.4 | 27.4 | 55 | 55
356 |  |  | Connection for FCU-5.1 | 1 | 0% | 1 | EA | 0.3 | 0.3 | 92 | 27.6 | 27.6 | 27.4 | 27.4 | 55 | 55
357 |  |  | Connection for FCU-1 | 1 | 0% | 1 | EA | 0.3 | 0.3 | 92 | 27.6 | 27.6 | 27.4 | 27.4 | 55 | 55
358 |  |  | Connection for FCU-5.2 | 1 | 0% | 1 | EA | 0.3 | 0.3 | 92 | 27.6 | 27.6 | 27.4 | 27.4 | 55 | 55
359 |  |  | Connection for FCU-2.2 | 1 | 0% | 1 | EA | 0.3 | 0.3 | 92 | 27.6 | 27.6 | 27.4 | 27.4 | 55 | 55
360 |  |  | Connection for FCU-4.2 | 1 | 0% | 1 | EA | 0.3 | 0.3 | 92 | 27.6 | 27.6 | 27.4 | 27.4 | 55 | 55
361 |  |  | Connection for CP-1 | 1 | 0% | 1 | EA | 0.3 | 0.3 | 92 | 27.6 | 27.6 | 27.4 | 27.4 | 55 | 55
362 |  |  | Connection for FCU-2.1 | 1 | 0% | 1 | EA | 0.3 | 0.3 | 92 | 27.6 | 27.6 | 27.4 | 27.4 | 55 | 55
363 |  |  | Connection for FCU-4.1 | 1 | 0% | 1 | EA | 0.3 | 0.3 | 92 | 27.6 | 27.6 | 27.4 | 27.4 | 55 | 55
364 |  |  | Connection for FCU-3 | 1 | 0% | 1 | EA | 0.3 | 0.3 | 92 | 27.6 | 27.6 | 27.4 | 27.4 | 55 | 55
365 |  |  | Connection for CU-1 | 1 | 0% | 1 | EA | 0.3 | 0.3 | 92 | 27.6 | 27.6 | 27.4 | 27.4 | 55 | 55
366 |  |  | Connection for CU-2.1 | 1 | 0% | 1 | EA | 0.3 | 0.3 | 92 | 27.6 | 27.6 | 27.4 | 27.4 | 55 | 55
367 |  |  | Connection for CU-2.2 | 1 | 0% | 1 | EA | 0.3 | 0.3 | 92 | 27.6 | 27.6 | 27.4 | 27.4 | 55 | 55
368 |  |  | Connection for CU-3 | 1 | 0% | 1 | EA | 0.3 | 0.3 | 92 | 27.6 | 27.6 | 27.4 | 27.4 | 55 | 55
369 |  |  | Connection for CU-4.1 | 1 | 0% | 1 | EA | 0.3 | 0.3 | 92 | 27.6 | 27.6 | 27.4 | 27.4 | 55 | 55
370 |  |  | Connection for CU-4.2 | 1 | 0% | 1 | EA | 0.3 | 0.3 | 92 | 27.6 | 27.6 | 27.4 | 27.4 | 55 | 55
371 |  |  | Connection for CU-5.1 | 1 | 0% | 1 | EA | 0.3 | 0.3 | 92 | 27.6 | 27.6 | 27.4 | 27.4 | 55 | 55
372 |  |  | Connection for CU-5.2 | 1 | 0% | 1 | EA | 0.3 | 0.3 | 92 | 27.6 | 27.6 | 27.4 | 27.4 | 55 | 55
373 |  |  | Connection for CU-6 | 1 | 0% | 1 | EA | 0.3 | 0.3 | 92 | 27.6 | 27.6 | 27.4 | 27.4 | 55 | 55
374 |  |  | Connection for CU-7 | 1 | 0% | 1 | EA | 0.3 | 0.3 | 92 | 27.6 | 27.6 | 27.4 | 27.4 | 55 | 55
PANELS & BREAKERS
375 |  |  | (VL) Panel LA1: 100A, 240/120V, 3W, 1P, 10KAIC, MLO | 1 | 0% | 1 | EA | 10 | 10 | 92 | 920 | 920 | 1050 | 1050 | 1970 | 1970
376 |  |  | Panel LA: 200A, 240/120V, 3W, 1P, 10KAIC, MCB | 1 | 0% | 1 | EA | 18 | 18 | 92 | 1656 | 1656 | 2100 | 2100 | 3756 | 3756
377 |  |  | Panel PA: 200A, 240/120V, 3W, 1P, 10KAIC, MCB | 1 | 0% | 1 | EA | 18 | 18 | 92 | 1656 | 1656 | 2100 | 2100 | 3756 | 3756
378 |  |  | 20A/1P Circuit Breaker | 62 | 0% | 62 | EA | 0.5 | 31 | 92 | 46 | 2852 | 24 | 1488 | 70 | 4340
379 |  |  | 25A/2P Circuit Breaker | 8 | 0% | 8 | EA | 0.6 | 4.8 | 92 | 55.2 | 441.6 | 55 | 440 | 110.2 | 881.6
380 |  |  | 40A/2P Circuit Breaker | 2 | 0% | 2 | EA | 0.6 | 1.2 | 92 | 55.2 | 110.4 | 86 | 172 | 141.2 | 282.4
381 |  |  | 60A/2P Circuit Breaker | 1 | 0% | 1 | EA | 0.65 | 0.65 | 92 | 59.8 | 59.8 | 126 | 126 | 185.8 | 185.8
LOW VOLTAGE
382 |  |  | Bell | 7 | 0% | 7 | EA | 0.8 | 5.6 | 92 | 73.6 | 515.2 | 132 | 924 | 205.6 | 1439.2
383 |  |  | Door Strike | 1 | 0% | 1 | EA | 0.55 | 0.55 | 92 | 50.6 | 50.6 | 128 | 128 | 178.6 | 178.6
384 |  |  | Push Button | 1 | 0% | 1 | EA | 0.5 | 0.5 | 92 | 46 | 46 | 78 | 78 | 124 | 124
385 |  |  | Data Outlet | 7 | 0% | 7 | EA | 0.25 | 1.75 | 92 | 23 | 161 | 24.5 | 171.5 | 47.5 | 332.5
386 |  |  | Tele/ Data Outlet | 38 | 0% | 38 | EA | 0.28 | 10.64 | 92 | 25.76 | 978.88 | 35 | 1330 | 60.76 | 2308.88
387 |  |  | Fire Alarm Pull Station | 1 | 0% | 1 | EA | 0.55 | 0.55 | 92 | 50.6 | 50.6 | 85 | 85 | 135.6 | 135.6
ALLOWENCE
388 |  |  | Allownce for Conduits | 5400 | 5% | 5670 | LF | 0.067 | 379.89 | 92 | 6.164 | 34949.88 | 1.1 | 6237 | 7.264 | 41186.88
389 |  |  | Allownce for Wiring | 16200 | 5% | 17010 | LF | 0.015 | 255.15 | 92 | 1.38 | 23473.8 | 0.3 | 5103 | 1.68 | 28576.8
|  |  | SUBTOTAL | [12 empty] | 150767.06
[7 empty] | TOTAL LABOR HOURS |  | 7029.6681 | TOTAL LABOR COST |  | 595398.927 | TOTAL MATERIAL COST | 495444.5361
|  |  | TOTAL AMOUNT | [12 empty] | 1178843.4631
|  |  | CONTIGENCIES (5%) | [7 empty] | 5% |  |  |  |  | 58942.1732
|  |  | OVERHEAD & PROFIT (10%) | [7 empty] | 10% |  |  |  |  | 117884.3463
|  |  | TAX (7.25%) | [7 empty] | 7.25% |  |  |  |  | 35919.7289
|  |  | PERFORMANCE AND PAYMENT BONDS | [7 empty] | 1.5% |  |  |  |  | 17682.6519
|  |  | TOTAL BASEBID | [12 empty] | 1409272.3634

## LABOR SHEET
| Labor Type | Labor Rate
Carpenter | CARP | 83.49
Plumbing | Plum | 96.91
Mechanical | Mech | 96.91
Electrical | Elec | 92
Drywaller | Drywaller | 83.49
Finisher | Finisher | 75
Painting | Painter | 70.3
Tile Contractor | Tilf | 77.95
Concrete | B14S | 70
Roofing | Roofer | 74.5
Genral Labor | Labor | 60
Wastage
Each/Count | EA | 0%
Linear Footage | LF | 5%
Square Footage | SF | 10%
Square Yard | SY | 10%
Cubic Yard | CY | 10%
Lumpsum | LS | 0%
Survery | Survey | 0%
Stair Riser | RISER | 0%
Blocks Count | BLOCKS | 0%
Bags of Pre-Mix Mortar | BAGS | 0%
Linear Footage of Wall | LF.Wall | 10%
Pounds | LBS | 10%
Pieces | PCs | 0%
Location | LOC | 0%
Bundle | Bundle | 10%
Rolls | ROLLS | 0%
Boxes | BOX | 0%
Holeses | Holes | 0%
Pieces | PC | 0%
Tubes | Tube | 0%
Gallons | GA | 0%
Square of Roofing | SQ | 10%
N/A | N/A | 0%
NOTE:
Prevailing wages have been included in this estimate in compliance with the Davis-Bacon Act.
Material pricing is based on current market rates sourced from reputable online platforms and suppliers.
Please note that actual costs may vary depending on site-specific conditions, unforeseen circumstances, or changes in market conditions.